DRIPPING SPRINGS INDEPENDENT SCHOOL DISTRICT

BUSINESS OPERATIONS

510 West Mercer Street, P. O. Box 479, Dripping Springs, TX  78620

Phone (512)858-3000   Fax  (512)858-3099

Date:	May 14, 2008

NOTICE TO VENDORS

The Dripping Springs Independent School District is accepting Request for Proposals as specified in this document.  Sealed proposals will be received at the Business Office of the Dripping Springs Independent School District, 510 West Mercer Street, P. O. Box 479, Dripping Springs, Texas 78620 until:

11:00am CST on May 30th 2008 for a PROJECTION AND AUDIO SYSTEMS AT DRIPPING SPRING ES AND WALNUT SPRINGS ES

Proposals will be publicly opened and read immediately following the deadline for receiving the proposals.  Any questions pertaining to the proposal procedure should be addressed to the Business Office at (512)858-3000.  Any questions pertaining to the proposal specifications should be directed to the offices of Combs Consulting Group.

PROPOSAL PACKAGES SHALL BE PLAINLY MARKED

SEALED PROPOSAL FOR:				PROPOSAL NO.  P08-008

PROJECTION AND AUDIO SYSTEMS AT DRIPPING SPRING ES AND

WALNUT SPRINGS ES

DO NOT OPEN UNTIL:	11:00Am, May 30, 2008

Any proposal received later than the specified time, whether delivered in person or mailed, shall be disqualified.

The evaluation criteria specified herein will be used to determine which of the proposals provide the best value for Dripping Springs Independent School District.  Dripping Springs Independent School District reserves the right to request post-proposal modifications, including best and final offers.  Dripping Springs Independent School District reserves the right to accept or reject any or all proposals, to waive all technicalities, and to accept the proposal(s) that is determined to be the most favorable to the district.  Recognizing that there are important considerations other than price, Dripping Springs Independent School District may not necessarily award to the lowest vendor.

Proposals must be effective for ninety days following deadline for the receipt of proposals.

Dwane Shropshire

Assistant Superintendent for Business Operations

Section 1 - GENERAL TERMS AND CONDITIONS FOR PROPOSALS

- APPLICABILITY

These conditions are applicable and form a part of the contract documents in each equipment and/or service contract and a part of the terms of each purchase order for items of equipment and/or service included in the specifications and proposal forms issued herewith.

- FINALITY AND CORRECTNESS

All proposals shall be deemed final, conclusive and irrevocable, and no offer shall be subject to correction or amendment for errors or miscalculations by the vendor.  Proposals may be withdrawn or amended until the date and time due, at which time they become the sole property of Dripping Springs Independent School District.

- WITHDRAWAL OF PROPOSALS

Withdrawal of proposals will not be allowed for a period of 90 days following the proposal opening.

- SPECIFICATIONS

May be those developed by the Using Department or by the Manufacturer to represent items of regularly manufactured products.

DISTRICT SPECIFICATIONS have been developed by the Using Department to show minimal standards as to the usage, materials, and contents based on their needs.

MANUFACTURER'S SPECIFICATIONS (Design Guide), when used by the District, are to be considered informative to give the vendor information as to the type and kind requested.  Proposals on any reputable manufacturer's regularly produced product of such items similar and substantially equivalent will be considered.  The Burden of Proof of Compliance with this specification will be the responsibility of the vendor.  If proposing other than the Brand specified vendor shall submit specifications on the item with the proposal and the district may request a sample later.  Material safety data sheets must accompany all chemical shipments.

- QUESTIONS

Any questions arising from this proposal shall be provided in writing to the offices of Combs Consulting Group. Questions are to be submitted in writing via facsimile or email, (210) 697-7889 (fax), ron.stark@combs-group.com (email). The deadline for submission of questions is 12:00pm CST Tuesday May 27, 2008. Answers to questions will be provided to all parties known to be in possession of the RFP documents.

- PROPOSALS SHALL BE SUBMITTED ON ENCLOSED FORMS (SCHEDULES)

Deviations to General Conditions and/or Specifications shall be conspicuously noted in writing by the vendor and shall be included with the proposal.

In case of error in extension, unit price shall govern.

Proposals received after the date and time of opening of the specified proposal will not be considered and will be returned unopened.  If the envelope does not reflect a return address, it will be opened for the sole purpose of obtaining the return address.

Proposals received without proper signature will not be accepted.

- SEALED PROPOSALS ONLY ARE ACCEPTABLE

Faxed Proposals will not be accepted by Dripping Springs ISD since the fax process does not provide for the delivery of a sealed proposal.

- REQUIRED ADDENDA

Will be issued by DSISD Business Office to all those known to have received a complete set of proposal documents.

- QUANTITIES REQUIRED

Are substantially correct, but Dripping Springs ISD reserves the right to purchase additional quantities above that stated at the same unit price unless otherwise specified by the vendor.  DSISD also reserves the right to solicit additional proposals based on larger quantities of the items stated therein, as it sole deems in the best value of the district.  DSISD does not guarantee any annual volume.

- SELLER OF PACKAGE GOODS

Vendor will package goods in accordance with good commercial practice.  Each shipping container shall be clearly and permanently packed as follows:  (a) Vendor's name and address: (b) Consignee's name, address and purchase order or purchase release number and the supply agreement number if applicable; (c) Container number and total number of containers, e.g. box 1 of 4 boxes; and (d) the number of the container bearing the packing slip.  Vendor shall bear cost of packaging unless otherwise provided.  Goods shall be suitably packed to secure lowest transportation costs and to conform with requirements of common carriers and any applicable specifications.  The District's count or weight shall be final and conclusive on shipments not accompanied by packing lists.

- SHIPMENT UNDER RESERVATION PROHIBITED

Vendor is not authorized to ship the goods under reservation and no tender of a bill of lading will operate as a tender of goods.

- TITLE AND RISK OF LOSS

The title and risk of loss of the goods shall not pass to Dripping Springs ISD until DSISD actually receives and takes possession of the goods at the point or points of delivery.

- SHIPPING AND DELIVERIES

Required in this proposal shall be freight prepaid, F.O.B. destination, unloaded, unless delivery terms are specified otherwise in the proposal or on the purchase order.  Discount proposals shall include all handling and shipping costs.  Dripping Springs ISD cannot and will not accept tail-gate deliveries, unless specified otherwise in the contract or on the purchase order.  All deliveries of purchase orders resulting from the proposal will be made to the delivery location specified on the purchase order.  Deliveries shall be made and articles shall be placed inside the school building or district facility in the room(s) designated, at no additional charge.  Vendor is required to call the Department specified on the purchase order, twenty-four (24) hours prior to delivery.  The terms of this agreement are "no arrival, no sale."

- RIGHT OF INSPECTION

Dripping Springs ISD shall have the right to inspect the goods at delivery before accepting them.

- RETURNS

Dripping Springs ISD reserves the right to return damaged, defective, or materials shipped in error, at the vendor's cost, for exchange or credit at the district's option within thirty (30) working school days of receipt of such materials.

- DELIVERY TIME

Deliveries from any resulting contracts of this proposal are to be made within (30) days from the date of the purchase order unless otherwise stated in the proposal.  If the vendor is unable to deliver within thirty (30) days from the date of the purchase order, or in the manner specified in the contract, Dripping Springs ISD reserves the right to purchase the same or like goods on the open market and charge the difference to the vendor, deduct charges from existing invoice totals due at the time, or cancel the contract.

- WARRANTY CONDITIONS

For all supplies and/or equipment shall be considered manufacturer's minimum standard warranty unless otherwise agreed to in writing.  Vendor shall be an authorized dealer, distributor or manufacturer for the product.  Equipment proposals received shall be for new equipment only.  Substitutions for new equipment must be clearly stated in writing.  Warranty period will be deemed to commence upon delivery and acceptance of the goods or service by DSISD.

- NO REPLACEMENT OR DEFECTIVE TENDER

Every tender or delivery of goods must fully comply with all provisions of this contract as to time of delivery, quality and the like.  If a tender is made which does not fully conform, this shall constitute a breach and the vendor shall not have the right to substitute a conforming tender, provided, where the time for performance has not yet expired the vendor may reasonably notify the District of his intention to cure and may then make a conforming tender within the contract time but not afterward.

- SAMPLES

Samples, when requested must be clearly marked with the name of the offer, name of the product, solicitation number and opening date, and item number. Samples must be delivered at no charge, and becomes the property of the District, unless otherwise specified.  The District reserves the right to destroy samples when it is considered necessary for the purpose of testing.  Samples not mutilated or destroyed will be returned to the vendor at the vendor's expense, if such return is request in the proposal.

ADDITIONAL SAMPLES needed for a proposal to be evaluated properly shall be delivered within (5) working days from the time the vendor is notified by the Business Office.

SAMPLE ITEMS from the successful vendor may be retained for the purpose of determining that the quality and workmanship of the delivered items are comparable to the sample.

- THOSE WHO DO NOT PROPOSE

Vendors are requested to notify the Dripping Springs Independent School District Business Office in writing if they wish to receive future proposals.  Failure to do so may result in their being deleted from our prospective bidders list.

- EVALUATION OF PROPOSALS

Takes into account the following considerations: price, quality, suitability for the intended use, probability of continuous availability, vendor's service, safety record, date of proposed delivery and placement, and any other criteria the district can lawfully consider under Texas Education Code Section 44.031.  Ongoing documentation by Dripping Springs ISD regarding the company's past performance will be used in determining the vendors responsibility for award purpose of the awards.

It is not the policy of the Dripping Springs Independent School District to purchase on the basis of low proposals/price alone.  The District reserves the right to accept or reject any or all offers, to waive any formalities and to accept the offer(s) that is determined to be the best value to the District.

The District reserves the right to award by item, or group of items, as deemed to be in the best value of the District, unless the vendor has specified "all or None".  If vendor proposes "All or None", proposal will not be considered for anything other than the entire award.  Therefore, a vendor who specifies "All or None" and does not submit a proposal for all items solicited will be deemed non-responsive to the solicitation.

- CONTRACTS FOR PURCHASE

Will be put into effect by means of a purchase order(s) executed by the DSISD Business Office proposals have been awarded.  Purchase Orders may be submitted by telephone, fax, or mail.  No valid purchase orders will be submitted without a District approved purchase order number.  Any additional agreements/contracts to be signed by DSISD shall be included with the proposal.

Prices for all goods and/or services shall be negotiated to a firm amount for the duration of this contract or as agreed to in terms of time frame.

- ORDINANCE, LAW, AND REGULATION

The contractor shall comply with all local, state, and federal ordinances, laws and regulations pertaining to the operation.  It shall be the obligation of the contractor to apply for, pay for, and obtain all permits and licenses as required by the various agencies of state and local governments.

- INVOICE

The following rules apply to render an invoice for payment:

  - Each invoice will reference the correct Dripping Springs ISD purchase order number.

  - Each invoice will be submitted in duplicate.

  - There must be a separate invoice for each purchase order.

  - Invoices will be accepted only for services/products that have been delivered and received.

  - Mail invoice to Business Office, Dripping Springs ISD, P. O. Box 479, Dripping Springs, TX  78620.

  - Discounts will be taken from the date of receipt of goods or receipts of invoices, whichever is later.  As pertains to this contract, date of payment will be considered the date payment is mailed.  If no discount is offered or accepted, payment terms will be net thirty (30) days.

- TAXES

Dripping Springs ISD is exempt from all applicable Federal Excise, State or City Sales Tax.  Tax exempt information will be furnished upon request.

- AVAILABILITY OF FUNDS

The award of this contract is dependent on the availability of funding.  In the event funds do not become available, the contract may be terminated, or the scope amended.  A thirty (30) day written notice will be given to the vendor, and there shall be no penalty nor removal charges incurred by Dripping Springs ISD.

- FUNDING OUT CLAUSE

Any/all contracts exceeding one (1) year will require a standard “funding out” clause.

A contract for the acquisition, including lease, of real or personal property is a commitment of the District’s current revenue only, provided the contract contains either or both of the following provisions:

      - Retains to the District the continuing right to terminate the contract at the expiration of each budget period during the term of the contract.

      - Is conditioned on a best efforts attempt by the District to obtain and appropriate funds for payment of the contract.

- SPECIAL TOOLS AND TEST EQUIPMENT

If the price stated on the face hereof includes the cost of any special tooling or special test equipment fabricated or required by vendor for the purpose of filling this order, such special tooling equipment and any process sheets related thereto shall become the property of the Dripping Springs ISD and to the extent feasible shall be identified by the vendor as such.

- WARRANTY PRICE

  - The price to be paid by the Dripping Springs ISD shall be that contained in vendor's bid which vendor warrants to be no higher than vendor's current prices on orders by others for products of the kind and specification covered by this agreement for similar quantities under similar or like conditions and methods of purchase.  In the event vendor breaches this warranty, the prices of the items shall be reduced to the vendors current prices on orders by others, or in the alternative, DSISD may cancel this contract without liability to vendor for breach or Seller's actual expense.

  - The vendor warrants that no person or selling agency has been employed or retained to solicit or secure this contract upon an agreement or understanding for commission, percentage, brokerage, or contingent fee excepting bona fide employees of bona fide established commercial or selling agencies maintained by the vendor for the purpose of securing business.  For breach or violation of this warranty, the Dripping Springs ISD shall have the right in addition to any other right or rights to cancel this contract without liability and to deduct from the contract price, or otherwise recover the full amount of such commission, percentage, brokerage or contingent fee.

- WARRANTY PRODUCTS

Vendor warrants that the goods furnished will conform to the specifications, drawings and descriptions listed in the bid invitation and to the sample(s) furnished by vendor, if any. In the event of a conflict between the specifications, drawings and descriptions, the specifications shall govern.  Vendor shall not limit or exclude any implied warranties and any attempt to do so shall be of no force or effect.

- SAFETY WARRANTY

Vendor warrants that the product sold to Dripping Springs ISD shall conform to the standards promulgated by the U.S. Department of Labor under the Occupational Safety and Health Act (OSHA) of 1970.  In the event the product does not conform to OSHA standards, DSISD may return the product for correction or replacement at the vendor's expense.  In the event vendor fails to make the appropriate correction within 30 days, correction made by DSISD will be at vendor's expense.

It is the policy of DSISD to comply with the Texas Hazard Communications Act.  Therefore, it is necessary to require that all suppliers provide DSISD with a Material Safety Data Sheet for all items sold to DSISD.  This information shall be provided on an OSHA Form 20 Material Safety Data Sheet or a suitable equivalent.  A separate sheet shall be provided for each individual item when purchase is made.

- NO WARRANTY BY BUYER AGAINST INFRINGEMENTS

As part of this contract for sale, vendor agrees to ascertain whether goods manufactured in accordance with the specifications attached to this agreement will give rise to the rightful claim of any third person by way of infringement or the like.  Dripping Springs ISD makes no warranty that the production of goods according to the specification will not give rise to such a claim, and in no event shall DSISD be liable to vendor for indemnification in the event that vendor is sued on the grounds of infringement or the like.  If vendor is of the opinion that an infringement or the like will result, the Seller will notify Buyer to this effect in writing within two weeks after the signing of this agreement.  If DSISD does not receive notice and is subsequently held liable for the infringement or the like, vendor will hold DSISD harmless.

If vendor in good faith ascertains that production of the goods in accordance with the specifications will result in infringement or the like, this contract shall be null and void except that DSISD will pay vendor the reasonable cost of his search as to infringements.

- CANCELLATION

Dripping Springs ISD shall have the right to cancel for default all or any part of the undelivered portion of this order if vendor breaches any of the terms hereof including warranties of vendor or if the vendor becomes insolvent or commits acts of bankruptcy.  Such right of cancellation is in addition to and not in lieu of any other remedies, which DSISD may have in law or equity.

- FORCE MAJEURE

If by reason of Force Majeure, either party hereto shall be rendered unable wholly or in part to carry out its obligations under this Agreement then such party shall give notice and full particulars of Force Majeure in writing to the other party within a reasonable time after occurrence of the event or cause relied upon, and the obligation of the party giving such notice, so far as it is affected by such Force Majeure, shall be suspended during the continuance of the inability then claimed, except as hereinafter provided, but for no longer period, and such party shall endeavor to remove or overcome such inability with all reasonable dispatch.  The term Force Majeure as employed herein, shall mean acts of God, acts of public enemy, orders of any kind of government of the United States or the State of Texas or any civil or military authority; insurrections; riots; epidemics; landslides; land sinkage; lighting; earthquake; fires; hurricanes; storms; floods; washouts; droughts; arrests; restraint of government and people; civil disturbances; explosions, breakage or accidents to machinery, pipelines or canals, or other causes not reasonably within the control of the party claiming such inability.

- ASSIGNMENT DELEGATION

No right or interest in this contract shall be assigned or delegation of any obligation made by vendor without the written permission of Dripping Springs ISD.  Any attempted assignment or delegation by vendor shall be wholly void and totally ineffective for all purposes unless made in conformity with this paragraph.

- WAIVER

No claim or right arising out of a breach of this contract can be discharged in whole or in part by a waiver or renunciation of the claim or right unless the waiver or renunciation is supported by consideration and is in writing signed by the aggrieved.

- MODIFICATIONS

This contract can be modified or rescinded only by a writing signed by both parties to the contract or their duly authorized agents.

- INTERPRETATION PAROLE EVIDENCE

This writing is intended by the parties as a final expression of their agreement and is intended also as a complete and exclusive statement of the terms of their agreement.  No course of prior dealings between the parties and no usage of the trade shall be relevant to supplement or explain any term used in this agreement.  Acceptance or acquiescence in a course of performance rendered under this agreement shall not be relevant to determine the meaning of this agreement even though the accepting or acquiescing party has knowledge of the performance and opportunity for objection.  Whenever a term defined by the Uniform Commercial Code is used in this agreement, the definition contained in the Code is to control.

- ADVERTISING

Vendor shall not advertise or publish, without Buyer's prior consent, the fact that Dripping Springs ISD has entered into this contract, except to the extent necessary to comply with proper requests for information from an authorized representative of the federal, state or local government.

- RIGHT TO ASSURANCE

Whenever one party to this contract in good faith has reason to question the other party's intent to perform he/she may demand that the other party give written assurance of his/hers business intent to perform.  In the event that a demand is made and no assurance is given within five (5) days, the demanding party may treat this failure as an anticipatory repudiation of the contract.

- VENUE

Both parties agree that venue for any litigation arising from this contract shall lie in Hays County, Texas.

- PROHIBITION AGAINST PERSONAL INTEREST IN CONTRACTS

Any board member which has any substantial interest, either direct or indirect, in any business entity seeking to contract with the district, shall, before any vote or decision on any matter involving the business entity, file an affidavit stating the nature and extent of interest and shall abstain from any participation in the matter.  This is not required if the vote or decision will not have any special effect on the entity other than its effect on the public.  However, if a majority of the governing body are also required to file, and do file similar affidavits, then the member is not required to abstain from further participation.  Vernon's Texas Codes Annotated, Local Government Code. Chapter 171.

- ALL CONTRACTS AND AGREEMENTS

Between vendors and Dripping Springs Independent School District shall strictly adhere to the statutes as set forth in the enclosed Master Sales Agreement and Uniform Commercial Code, as enacted in the Texas Business and Commerce Code, for sales of goods and services.

- DISCLOSURES

By signing this proposal, a vendor affirms that he/she has not given, offered to give, nor intends to give at any time hereafter any economic opportunity, future employment, gift, loan, gratuity, special discount, trip, favor or service to a public servant in connection with the proposal submitted.

Vendor shall note any and all relationships that might be a conflict of interest and include such information with the proposal.

By signing this proposal, a vendor affirms that, to the best of his/her knowledge, the proposal has been arrived at independently, and is submitted without collusion with anyone to obtain information or gain any favoritism that would in any way limit competition or give them an unfair advantage over other vendors in the award of this proposal.

- TERMINATION OF CONTRACT

It is understood that the Dripping Springs ISD retains the option to terminate this Agreement for any reason at the end of each contract year without pecuniary risk or penalty or at any point during the contract term with evidence of just cause.  The District agrees that it will provide written notice of termination no later than thirty (30) days prior to the end of the contract year or for just cause.  The termination will become effective and this Agreement shall terminate thirty (30) days following written notification of intent.

- CONFIDENTIAL OR TRADE SECRETS (Government Code, Article 252.049)

If any of the information is considered to be confidential or a trade secret belonging to the vendor and, if released would give advantage to a competitor or vendor, that information should be filed with the proposal in a separate envelope marked “CONFIDENTIAL - DO NOT DUPLICATE WITHOUT PERMISSION”.  Acceptance of such materials does not constitute an admission by DSISD that the materials are confidential or a trade secret.

- VENDOR NON-PERFORMANCE

If at any time, the vendor fails to fulfill or abide by the terms and conditions or specifications of the contract, DSISD's remedies include but not limited to:

  - purchase on the open market and charge the vendor the difference between contract price and actual purchase price, or

  - deduct such charges from existing invoice totals currently due, or

  - cancel within thirty (30) days written notification of intent and remove the vendor from the active proposal file for a period of time not less than one (1) year.

  - re-propose the service/product.

  - award to next lower responsible vendor, if accepted by same.

- CRIMINAL RECORDS HISTORY

The vendor shall insure that all entities with which it contracts shall supply information regarding criminal records history of any employee, agent or consultant who shall be present on Dripping Springs Independent School District property at any time.  Under no circumstances shall any entity be allowed to use employees, agents or consultants present on site who have been convicted of a felony or a crime involving sexual misconduct.

- OTHER REQUIREMENTS

Any problems or discrepancies that are not covered by the above requirements should be directed to the DSISD Business Office for a determination or clarification prior to any action taken on said problem or discrepancy.  If the vendor fails to make such request, no excuse will thereafter be entertained for failure to carry out the work in a satisfactory manner.

BONDING AND INSURANCE REQUIREMENTS:  (For Contracted Services Only)

All bidders submitting proposals for this work shall comply with the following requirements.  Bidders submitting proposals, which do not comply with these requirements, shall not be considered.

BONDING REQUIREMENTS:

Bids shall be accompanied by a cashier’s check or certified check upon a state bank in the amount not less than five per cent (5%)of the total maximum bid price payable without recourse to the Dripping Springs Independent I. S. D. or a bid bond in the same amount from a reliable surety company licensed to do business in the State of Texas as a guarantee that the bidder will enter into a contract and execute a payment and performance bond on any or all projects $25,000 or above within fifteen (15) days after notice of award of the contract to him.

INSURANCE REQUIREMENTS:

The successful contractor will be required to supply proof of insurance in accordance with the following schedule prior to the start of the project.  Dripping Springs ISD. requires that contractor’s insurance be placed only with companies that have achieved at least an “A” rating with A.M. Best.  The District reserves the right to require higher limits of coverage depending on the size, scope, and nature of a contract.  Dripping Springs I. S. D. must be named as an additional insured.

TYPES OF INSURANCE COVERAGE			LIMITS OF LIABILITY

- Workers’ Compensation				Statutory

- Employer’s Liability				$500,000 each accident

$500,000 disease policy limit

$500,000 disease each employee

- Commercial General Liability			$1,000,000 combined single limit

policy aggregate

$500,000 combined single limit

each occurrence

(Property damage deductible not to exceed $500 per occurrence)

4.	Business Auto Liability				$100,000 combined single limit

each occurrence

(Hired/non-owned coverage must also be provided)

The immunity of the owner shall not be a defense from the insurance carrier.  The selected bidder will be required to supply an insurance certificate naming Dripping Springs ISD as an additional insured prior to the start of the project.    Each policy shall contain a provision that the policy will not be canceled or allowed to expire until at least 30 days’ prior written notice has been given Dripping Springs ISD.  ALL BIDDERS MUST FURNISH CERTIFICATE OF INSURANCE WITH THEIR BID OR THE BID WILL NOT BE CONSIDERED.  ONLY THE SELECTED BIDDER IS REQUIRED TO NAME DRIPPING SPRINGS ISD AS ADDITIONAL INSURED.

Section 2 – INSTRUCTIONS TO VENDORS

- The Request for Proposal contains the following:

Section 1		General Terms and Conditions for Proposals

Section 2		Instructions to Vendors

Section 3		General Project Requirements

Section 4		Acceptable Manufacturers

Section 5		System and Service Requirements

Section 6		Scope of Work and Technical Requirements

Section 7		Training Requirements

Section 8		Project Management and Close-out Requirements

Section 9		Warranty and Maintenance Requirements

Section 10		Schedules 1-15

Exhibit ‘A’		Proposed DSISD Master Sales Agreement

Drawings		Technical Scope Drawings; AV0.0 – AV2.0

2.	The principal contact for this project is:

Ron Stark, Senior Consultant, Systems Studio

Combs Consulting Group, I.T. Design and Consulting

11550 IH-10 West, Suite 270

San Antonio, Texas 78217

Office:	(210) 698-7887

Fax: (210) 698-7889

Email: Ron.Stark@combs-group.com

All correspondence related to this Request for Proposal and subsequent contract shall be submitted by the Vendor in writing and sent via e-mail, fax, or letter to the primary project contact. Any verbal or telephonic questions, clarifications or other information will not be considered as official for the duration of this project.

- This RFP is for Classroom Projection and Audio System at Dripping Springs ES and Walnut Springs ES. Vendors are expected to submit a complete and accurate response which addresses the entire scope of work as defined in this RFP.

- This Request for Proposal is intended to include all potential approved vendors and acceptable manufacturers capable of providing a solution that meets both the technical and functional requirements of this specification.

- Vendors are expected to provide complete and comprehensive information in the proposal response. If unable to comply with a specific item in the Request for Proposal, the Vendor is required to prepare a listing of exceptions to the Request for Proposal language, contract terms, or specifications. Exceptions to this Request for Proposal shall be submitted in Schedule 9 of the Vendor’s Response. In the event no exceptions are indicated or the response is devoid of Schedule 9, it will be assumed the vendor intends to fully comply with the requirements of the specification and contract terms as defined in the Request for Proposal. Under no circumstance will the Vendor be allowed to delete, modify or otherwise change any part of the contract documents or scope of work as defined in this Request for Proposal without the written approval of the Dripping Springs ISD.

- Unit prices contained in the Vendors quote for the initial installation must be firm for a period of no less than 180 days prior to execution of contract and post cutover pricing shall remain in effect for a period of no less than 12 months after final system acceptance. In the event of a price change, the Vendor of such said change shall notify the Owner in writing. The Owner shall have the right to any lowered product or services pricing for the duration of the contract and warranty period. In any case the Owner shall be provided pricing that is no more than the published and customary prices for similar Owners in the Dripping Springs/Austin Texas area.

- All questions shall be submitted in writing via fax, e-mail, or letter. The deadline for submitting questions related to this Request for Proposal is 12:00pm CST on May 27, 2008.

- Request for Proposal schedules must be executed and submitted intact, without modification to the schedule language as published. The proposal form and associated schedules must be completely filled out and executed as indicated. Vendor responses shall be submitted in individually bound folders with section dividers. Failure to follow this procedure may result in disqualification.

- Vendors are expected to submit their best and final system pricing, including all applicable discounts for equipment, services, training and maintenance costs with the Request for Proposal response.  Maintenance cost(s) should include applicable discounts for multi-year agreements.

- Vendors do not have to execute the proposed Master Sales Agreement (Exhibit A) as part of the RFP Response. This document is provided for Vendor reference and review purposes only. It is anticipated that the successful Vendor will execute this agreement as contract between Vendor and Owner. Failure to execute the Owner’s Contract may result in disqualification and subsequent award to the next qualified proposal response.

- The Request for Proposal Documents (Specifications and Drawings) will be made available on CD to Vendors for pick-up on 11:00am CST May 14, 2008. Documents may be obtained at the Dripping Springs ISD, Central Office located at 510 W. Mercer, Dripping Springs, Texas 78620, the offices of Combs Consulting Group, 11550 IH-10 West, Suite 270, San Antonio Texas 78230 or RFP Documents can also be obtained electronically on the District’s web-site at http://www.dripping-springs.k12.tx.us/

- Vendors shall submit one (1) original, clearly marked as such and four (4) identical copies of the Request for Proposal response. Request for Proposals responses must be mailed or delivered to Dripping Springs ISD, Purchasing Department, 510 W. Mercer, Dripping Springs, Texas 78620 on or before the time and date as published on the Cover Page of this Request for Proposal document. Proposals received after the submission deadline will not receive consideration.  Proposals shall be provided in a sealed package entitled, "Proposal to Provide Projection and Audio Systems at Dripping Springs ED and Walnut Springs ES for Dripping Springs ISD”.  Under no circumstances will proposals be accepted by facsimile or other electronic means.

Vendor responses shall be bound and tabbed in the following format:

Schedule 1:	Proposal Form

Schedule 2:	Pricing Details

Schedule 3:	Hold Harmless Agreement

Schedule 4:	Felony Conviction Notification

Schedule 5:	Non-Collusive Certificate

Schedule 6:	Certificate of Residency

Schedule 7:	Certificate of Insurance

Schedule 8:	Conflict of Interest Questionnaire; Form CIQ

Schedule 9:	List of Vendor Exceptions

Schedule 10:	Warranty Information

Schedule 11:	Maintenance Information

Schedule 12:	Vendor References

Schedule 13:	Company Information, Overview and Certifications

Schedule 14:	Product Information and Cut Sheets

Schedule 15:	Proposed Project Implementation Schedule

- Vendors shall provide a minimum of three (3) references with the proposal response. References shall be for similar systems and clients, and shall include account name, type of installation, installation size with contact name(s) and telephone number(s).

13.	Proposals will be evaluated on the basis of the following criteria, among others:

A.  Price - 40 Points

B.  Response and Technical Compliance – 25 Points

C.  Proposal Terms and Exceptions – 20 Points

D.  Completion of projects of similar size and scope – 10 Points

E.  References and/or past experience with Owner/Consultant – 5 Points

DSISD reserves the right to evaluate Proposal Responses based on any other criteria deemed important and/or necessary to determine best overall value.

14.	DSISD or its designated representative reserve the right to request additional or clarifying information after the proposal response has been submitted.  This information may be used to further evaluate the response or qualify overall cost associated with a proposed solution.

15.	Upon notice of award, the Vendor shall furnish Performance and Payment Bonds for 100% of the value of the work payable to Dripping Springs ISD, in the event the total proposal price exceeds $25,000 in total value. The Performance and Payment Bond(s) must identify compliance with the provisions of Chapter 2253 of the Texas Government Code and indicate that all liabilities of the bond(s) shall be determined in accordance with the provisions of stated Texas Government Code.

- The Surety must be authorized to do business under a Certificate of Authority issued by the State of Texas and hold Certificates of Authority as an acceptable Surety on the current Department of the US Treasury listing as found in the Federal Register with no less than an ‘A’ grade rating. Additional information may be found at http://fms.treas.gov/c570/regulations.html

- The Vendor shall deliver the required bonds to the Dripping Springs ISD within ten (10) business days following formal notice of intent to award of Contract.  The cost of the Bonds and Securities are to be included within the originally submitted proposal response. Provisions for additional Owner monies for project surety will NOT be granted in the event they are omitted from the proposal pricing prior to submission of the proposal.

- Vendors are required to furnish insurance certificates equal to or greater than the required coverage’s listed in Section 1 (Page 10) of this Request for Proposal. Insurance Certificate(s) shall name Dripping Springs ISD an additionally insured on the policy.

- The successful vendor shall have ten (10) business days from the date of formal notice of intent to award and acceptance of Contract Documents to provide all payment, performance bonds and certificate of insurance acceptable to the Owner. Insurance certificate shall name the Dripping Springs ISD as an additional insured on the policy.

- Should the Vendor fail to timely execute and deliver the bonds, evidence of insurance, or fail to fulfill any other conditions of the Contract Documents and the commencement of work, the Owner may, at its sole discretion, without releasing, impairing, or affecting its right to receive securities as liquidated damages, rescind the award and thereafter award the contract to another vendor or may reject all quotes.

- There will be no contractual obligation on the part of the Owner to any Vendor until the Contract Documents are unconditionally executed with bonding and insurance in place with fully executed Contract Documents delivered to all parties.

- The successful vendor shall provide and install all equipment, materials, and/or services enumerated in this Request for Proposal and all equipment and/or services required to provide a complete turnkey and operational system, regardless if the equipment or service has been specifically itemized and/or identified in the Request for Proposal Documents or the Vendor’s RFP response.

- Equipment proposed, provided and installed by the vendor in fulfillment of Request for Proposal must be new and unused. Equipment refers to all hardware, software, materials and incidentals, etc.  In addition, any equipment or proposed software releases that are included in the proposal but not currently available must be stated as such with the date of general availability specified.

- The Vendor shall submit a list proposed project personnel from the Vendor’s company and any potential sub-contractors that are planned for use on this project. This listing of project personnel and resources shall be submitted in Schedule 13. In the event of multiple sub-contracts, a separate listing is to be provided for each potential sub-contractor.

- The Vendors total proposal pricing submitted on the executed Schedule 1 form (Proposal Form) must match the unit pricing submitted in Schedule 2A.

- Vendors are required to respond to the complete scope of work identified in this RFP document. Partial or incomplete scope proposals will not be considered.

- Vendors must completely fill out, execute (as required), and submit all Request for Proposals schedules and requested data to be considered a complete response to this Request for Proposals Document. Incomplete or partial proposal responses will not be considered.

- Vendors shall execute the RFP cover sheet and place the executed counterpart on the outside of the Proposal Response container. Cover sheet shall be clearly visible on the outside of the container for the Owner’s reference.

- Vendors are expected to work within the District’s guidelines, policies and the Laws of the State of Texas while working on-site at DSISD. Vendor personnel are required to check-in to each campus on a daily basis, wear proper dress attire and be easily identified by wearing ID badges when working at DISD campuses. Vendor personnel are required to check-in and out prior to working at any Campus.  DISD reserves the right to remove any Vendor deemed to be in non-compliance with District policy or Texas Law. Questions regarding DSISD policy will be provided upon request in writing to Dwane Shropshire, Assistant Superintendent, Dripping Springs, ISD.

- It is the intent of the Owner to award a single contract to a single Vendor to fulfill the requirements of this RFP at the lowest aggregate cost. The Owner reserves the right to award multiple contracts or to not award to the greatest extent allowed by law.

- By submitting a proposal, the Vendor represents that; (1) They possess experience on projects of similar size and scope; (2) The vendor has read and understands the Request for Proposals document and proposed contract documents; (3) The proposal is made in accordance with the Request for Proposals specification, schedules and proposed contract documents; (4) Vendor is familiar with the local conditions, standards, and/or codes under which the work is to be performed and (5) Vendor response to the Request for Proposal does not constitute an intent or obligation of the Owner to award contract.

# Section 3 - General Project Requirements

1.	General:

These specifications cover the general project requirements for the installation of equipment by the Vendor, outline Vendor requirements and outline the general conditions to be met for the Dripping Springs ISD; hereinafter referred to as the Owner, in connection with such control of the premises wherein the equipment is to be installed.  It is understood that the Owner shall obtain permission from whoever does have such ownership or direct control in order to implement the following requirements.

In the execution of this work, the Vendor shall comply in every way with the requirements of local laws and ordinances, the laws of the State of Texas, the National Board of Fire Underwriters, OSHA, accepted industry standards and the National Electrical Code.  If, in the opinion of the Vendor, there is anything in the specifications that will not strictly comply with the above laws, ordinances, and codes, the matter shall be referred to the attention of Combs Consulting Group for a decision before proceeding with that part of the work.

No change in the Specifications, regardless of cost, shall be made without full consent in writing of the Owner. Where the Vendor and/or sub-contractor licensing is required at a Federal, State, or Local level, the Vendor shall provide written proof of such licensing, certificates, etc. to the owner prior to award of contract.

2.	The Owner shall:

2.01	Grant the Vendor, its employee’s and representative’s access to the premises and facilities at all reasonable hours (as determined by the Owner) for the duration of the project as specified in this Request for Proposal.

2.02	Take actions as necessary to ensure that the premises are clean, dry and free from debris and in such condition as not to be hazardous to the installation personnel or the equipment to be installed.

2.03	Provide adequate environmental conditions for which the equipment will be installed.

2.04	Provide drawing(s), as available, of the buildings as required to allow for installation of the equipment by the Vendor.

2.05	Provide for and access to commercial grade 110vac 60Hz power circuits necessary for installation of the equipment.

2.06	Provide prompt and accurate payment to the Vendor in accordance with the Contract Document(s) and the governing laws of the State of Texas.

2.07	Provide tax-exempt certificate(s) to the successful Vendor.

2.08 	Provide adequate 19” EIA rack space in each ER/TER for new horizontal cable termination systems.

3.	The Vendor shall:

3.01	Obtain the Owner's permission before proceeding with any work necessitating cutting into or through any part of building structures such as girders, beams, concrete or tile floors, partition ceilings.

3.02	Be responsible for and repair all damage to buildings due to carelessness of workmen, including ceiling tiles, and exercise all reasonable care to avoid any damage to the Owner's property.

3.03	The Vendor will immediately report in writing to the Owner, any damage to buildings, which may exist prior to or may occur during the occupancy of the quarters by the Vendor.

3.04	Be responsible for wire and cable materials to properly interconnect the system to the existing data network, including all materials and labor for cross connections of the projection system to existing station and circuit wiring.

3.05	Install the equipment in strict accordance with the manufacturer's guidelines, specifications for the system, applicable standards and industry accepted best practices methods.

3.06	Conduct pre-cutover inspections and system testing after the initial installation has been completed and prior to formal substantial completion, in order that the Owner may be assured that the requirements for installation are met prior to any formal inspection process.

3.07	Promptly notify the Owner of the completion of the work on the equipment or such portions thereof as are ready for inspection.

3.08	Give the Owner written notice of completion of the installation at least 5 days prior to completion.

3.09	Promptly correct all defects for which the Vendor is responsible in accordance with the Contract Document(s).

3.10	Provide the Owner close-out documentation as defined in section 8 of the Request for Proposal. This documentation shall be due to the Owner at the time of Substantial Completion.

3.11	Shall coordinate all work associated with the project with the Dripping Springs ISD and/or their designated representative for the duration of the project.

3.12	Shall provide for secure storage of all materials and remove any excess material, debris, or scrap and return work areas to their original state of cleanliness on a daily basis. Under no circumstances shall the Vendor use the Owners storage or disposal facilities for the removal of debris or scrap materials unless prior approval has been granted by Owner.

3.13	Shall coordinate and schedule all installation activities with the Owner in advance of performing such work.  Due to the nature of the Owner’s business it is anticipated that Vendors will be given access to the facility M-F 8:00am to 5:00pm during non-school months. Working times when school is in session shall be coordinated with and approved by Owner prior to performing work.

  - Prepare a schedule of values for project installation activities with the associated completion percentage and anticipated payment schedule. The schedule of values shall be reviewed for accuracy and approved by the Owner prior to beginning any work. All applications for payment shall be submitted to Owner in accordance with the approved schedule of values attached.

  - Provide projection mounting systems as indicated on the A/V Drawings and contained with the specification.

  - Provide projection systems as indicated on the A/V Drawings and contained with the specification.

  - Provide projection screens as indicated on the A/V Drawings and contained with the specification.

  - Provide Audio systems raceways as indicated on the A/V Drawings and contained with the specification.

  - Provide Audio/Visual non-metallic raceways as indicated on the A/V Drawings and contained with the specification.

  - Provide Audio/Visual inter-connect wiring as indicated on the A/V Drawings and contained with the specification.

  - Provide a Category 5E or Category 6 (Campus Dependent) cable drop to each projector location as indicated on the A/V Drawings and contained with the specification.

  - Provide a Category 5E or Category 6 (Campus Dependent) cable drop to each A/V Raceway location as identified as indicated on the A/V Drawings and contained with the specification.

  - Shall execute the Owner’s proposed Master Sales Agreement attached as Exhibit  ‘A’ of this Request for Proposal as Contract between Vendor and Owner.

  - Shall be responsible for establishing new cable pathway as necessary to facilitate new cable plant installation as specified in this RFP, including but not limited to; J-hooks, conduit sleeves and/or other cable support systems, regardless if these are specifically enumerated in the RFP or communications drawings.

  - Shall install all cable plant materials and active system components in accordance with industry standards and industry accepted best practices methods.

  - Shall be responsible for the addition of all interconnect cabling and copper Category 5E/6, RCA, VGA and audio patch cords to interconnect systems and activate components, regardless if the specifically enumerated within the specification.

  - Shall use plenum rated hook & Loop tie wraps for all above-ceiling spaces.

  - Vendor shall label each component installed. Labels shall be clearly visible on the front of the equipment.

  - Vendor shall be responsible for the application and recording asset tag information on appropriate equipment at the time of installation. Asset tag information shall be recorded on an electronic spreadsheet and turned over to the Owner at the time of substantial completion.

  - Vendor shall be responsible for complete interconnection of all projection and audio systems to form a complete and functional A/V network.

  - Strictly adhere to the following Codes, Standards and Regulations:

A.	American National Standards Institute (ANSI)

  - American Society for Testing and Materials (ASTM)

  - Alliance for Telecommunications Industry Solutions (ATIS)

  - Electronics Industry Alliance (EIA)

  - Federal Communications Commission (FCC)

1.	FCC Part 15, Radiated Emissions Limits, revised 1998

2.		FCC Part 68, Connection of Terminal Equipment to the Telephone Network, revised 1998

3.	FCC Part 76, Cable Television Service, revised 1998

  - International Electrotechnical Commission (IEC)

  - Institute of Electrical and Electronics Engineers, Inc. (IEEE)

      - IEEE Standard 81-1983, IEEE Guide for Measuring Earth   Resistance, Ground Impedance, and Earth Surface Potential of a Ground System

      - IEEE Standard 1100-1999, Recommended for practice for Powering and Grounding Sensitive

      - Electronic Equipment in Industrial and Commercial Power Systems (IEEE Emerald Book)

  - International Organization for Standardization (ISO)

  - International Organization of Standardization/International Electrotechnical Commission (ISO/IEC)

  - ISO/IEC 11801, Information Technology-Generic Cabling for Customer Premises, 1995

  - ISO/IEC 14763-1, Information Technology-Implementation and Operation of Customer Premises Cabling-Administration, 1999

  - National Cable Television Association (NCTA)

  - National Electrical Code (NEC)

  - National Electrical Manufacturers Association (NEMA)

  - National Fire Protection Association (NFPA)

  - NFPA-70, National Electrical Code

  - NFPA-75, Protection of Electronic Computer Data Processing Equipment.

  - NFPA-101, Life Safety Code

  - NFPA-297, Guide on Principles and Practices for Telecommunications Systems

  - NFPA-780, Standard for the Installation of Lightning Protection Systems.

  - National Institute Standards and Technology (NIST)

  - Occupational Safety and Health Administration (OSHA)

  - Rural Utility Services (RUS)

  - Telecommunications Industry Association (TIA)

  - ANSI/TIA/EIA-568-B.1, Commercial Building Telecommunications Cabling Standard, 2000

  - ANSI/TIA/EIA-568-A, Propagations Delay and Delay Skew Specifications for 100-OHM 4-Pair Cable, 1997

  - ANSI/TIA/EIA-568-A-2, Corrections and Additions to ANSI/TIA/EIA-568-A, 1998

  - ANSI/TIA/EIA-568-A-3, Hybrid Cables, 1998

  - ANSI/TIA/EIA-568-A-4, Production Modular Cord NEXT Loss Test Method and Requirements for Unshielded Twisted Pair Cabling, 1999

  - ANSI/TIA/EIA-568-A-5,Transmission Performance Specifications for 4-Pair 100-OHM Category 5e Cabling, 1999

  - ANSI/TIA/EIA–569-A, Commercial Building Telecommunications Pathways and Spaces, 1998

  - ANSI/TIA/EIA-569-A-1 Addendum1, 2000.  Replaces Section 4.7, Perimeter Pathways, 1998

  - ANSI/TIA/EIA-569-A-2, Addendum 2, 2000 Replaces Sections 6.3.3, Furniture Pathways,1999

  - ANSI/TIA/EIA-569-A-3, Addendum 3, 2000. Revision to Sub clause 4.3, Access Floors, 1999

  - ANSI/TIA/EIA-569-A-4, Addendum 4, Poke Thru Devices, 2000 ANSI/TIA/EIA-570-A, Residential Telecommunications Cabling Standard, 1999

  - ANSI/TIA/EIA-606, (1993), Administration Standard for the Telecommunications Infrastructure of Commercial Buildings, 1993

  - ANSI/TIA/EIA-607, Commercial Building Grounding and Bonding Requirements for Telecommunications, 1994.

  - ANSI/TIA/EIA-758, Customer-Owned Outside Plant Telecommunications Cabling Standard, 1999

  - ANSI/TIA/EIA-758-1 Addendum 1, OSP Optical Fiber Cabling Practices, 1999

  - ANSI/TIA/EIA-729, Technical Specifications for 100 OHM Screened Twisted –Pair Cabling, 1999

  - ANSI/TIA/EIA-TSB67, Transmission Performance Specifications for Field Testing of Unshielded Twisted-Pair Cabling Systems, 1995

  - ANSI/TSI/EIA-TSB72, Centralized Optical Fiber Cabling Guidelines, 1995

  - ANSI/TIA/EIA-TSB75, Additional Horizontal Cabling Practices for Open Offices, 1996.

  - ANSI/TIA/EIA-TSB95, Additional Transmission Performance Guidelines for 4-Pair 100-OHM Category 5 Cabling, 1999.

  - Underwriters Laboratories, Inc. (UL)

  - Provide a project contingency in the order of 5.0% of the total equipment and services cost inclusive of total proposal cost for any Owner moves, adds or changes during the implementation phases of the project. All un-used contingency dollars will be returned to Owner at the conclusion of the project and prior to systems acceptance via Change Order.

  - Provide solutions from acceptable manufacturers as listed in Section 4 of the RFP document.

Section 4 – ACCEPTABLE MANUFACTURERS

1. 	The following are acceptable manufacturers for the LCD Projectors:

- Epson 822+, 2600 ANSI Lumen for Classroom Projection

- Epson 7900NL, 4000 ANSI Lumen  for Cafeteria Projection w/Long-Throw Lens

- The following are acceptable manufacturers for the Wall Mount DLP projector:

- 3M DMS-800 Digital Media Wall Mount Projection System (DS ES Act. Building)

- The following are acceptable manufacturers for projection mounts:

- Peerless CMJ-455 series adjustable mounting plates extensions for 2’X2’ ceilings

- Peerless Adjustable Extension ADD-XXX

- Peerless Accessory Plate Kit ACC-455

- Peerless Universal Projector Mount w/Security PRG-UNV-S

- Peerless Projection Wall Mount PWA -14 (Cafeteria)

- Peerless Structural Ceiling Mount ACC-XXX

- The following are acceptable manufacturers for raceway and electrical systems

- Panduit T-70 Non-Metallic Single Channel Raceway System (M/M Locations)

- Panduit Twin-70 Non-Metallic Dual Channel Raceway System (M/M Locations w/Data Outlet)

- Panduit T-70 Electrical Faceplate (Decora) T70PGS

- Panduit T-70 Duplex Data Outlet Faceplate T70FV2

- Panduit T-70 Duplex Electrical Faceplate CPNIW

- Panduit Decora Electrical Outlet ERU20 (Additive Proposal #2)

- Panduit or Ortonics Simplex Faceplate (Projector Plate)

- Panduit or Ortronics Modular Category 5e RJ-45 Inserts

- Panduit or Ortronics Category 5e RJ-45 Patch Panels

5.	The following are acceptable manufacturers for the A/V Inter-connect Cables:

- Quicktron Rapid-Run 50’ UXGA Plenum Rated Runner Cable #2212-40752-050

- Quicktron Rapid-Run 50’ 5-Coax Plenum Rated Runner Cable #2212-40759-050

- Quicktron Rapid-Run VGA/3.5mm Audio Flying Lead #2212-40853-002

- Quicktron Rapid-Run RCA (YRW)/S-Video Flying Lead #2212-42095-002

- Quicktron Rapid-Run VGA/3.5mm Wall Plate #2212-42021-001

- Quicktron Rapid-Run RCA (YRW)/S-Video Wall Plate #2212-40899-001

6.	The following are acceptable manufacturers for A/V Patch Cords (Raceway Inputs)

- Monster 6’ VGA Cable #JP MNPC 1 HP-6

- Monster 6’ Composite RCA (YRW) Male to Male # JP MNPC 1 HP-6

- Monster 6’ Audio Cable 3.5 Male to 3.5 Male # JP MNPC 1 HP-6

- Monster 16’ S-Video Male to Male #THX V100SV-16 NF

7. 	The following are acceptable manufacturers for the Audio Speaker Systems:

- OWI, AMP IC-5 Amplified Stereo Speakers with matching slave and back boxes

8. 	The following are acceptable manufactures for the Classroom Projection Screens:

- Da-Lite – Model ‘C’, 6’X8’ Square Format, Matte White, Manual Screen

- Da-Lite – Model #6 Wall Mount System

- Da-Lite – Model ‘B’ 70”X70” Square Format, Matte White Manual (DS ES)

- Classroom Screen Mounting Backboard 10’X2’X ¾” Solid Birch or Red Oak, #2 Common or better grade, stained light golden oak.

- The following are acceptable manufacturers for Cafeteria Projection Screens:

- Da-Lite Large Cosmopolitan Electrol, 12’X12’ Square Format, Matte White

- Da-Lite Mounting hardware as required

- The following are acceptable manufacturers for Communications Cable Plant:

- Ortronics / Berk-Tek

- Panduit / General

- Miscellaneous cable plant or ancillary network periphery products referenced herein shall be provided as specified Manufacturer or an approved functional equivalent as indicated in the RFP document and submitted as such in Schedule 16. Vendors are required to submit a complete list of any proposed equipment submitted as a functional equivalent for Owner’s approval in Schedule 16 and prior to installation of such product. Failure to follow this procedure may result in the un-approved product being removed and replaced with specified or approved equivalent product. The Vendor will solely bear the cost of such replacements.

- Vendors are required to provide a complete and functional Classroom Projection and Audio Systems as specified utilizing products from the listed manufacturers.

- Vendors shall not submit solutions or systems from non-acceptable manufacturers. This is a “hard-specified” proposal. Proposals consisting of or containing product from non-acceptable manufacturers will not receive consideration.

- Product equivalencies, if accepted or allowed, shall be determined at the sole discretion of the Owner.

# Section 5 – SYSTEM AND SERVICE REQUIREMENTS

      - This section of the specifications contains specific information necessary for Vendors to prepare a complete price proposal.

      - The Vendor shall provide a complete end-to-end solution from the list of acceptable manufacturers listed in Section 4 of the RFP document.

      - The Vendor shall provide complete turn-key services all proposed system hardware and software components, including costs for any ancillary equipment, training, warranty and maintenance as defined or specified in the RFP.

      - The Request for Proposal consists of a four (4) pricing components; One (1) Base Proposal, two (2) Additive Proposals and One (1) Alternate Proposal. Vendors shall provide a complete proposal response to the entire scope of work defined within this document:

            - Base Proposal #1 is for Projection and Audio Systems at Dripping Springs ES and Walnut Springs ES.

            - Additive Proposal #1 is for projection systems at the Central Office Board Room and Computer Lab.

            - Additive Proposal #2 is for 110vac power to be added to Projection mounts at each projector location and Dual Channel Raceway (M/M with Data Outlet) locations.

            - Alternate Proposal #1 is for the installation of Owner provided projectors.

      - Vendors will be required to perform work at both Dripping Springs ES, Walnut Springs ES and Central Office campuses.

      - Vendors are required to provide complete pricing for the proposal response. Failure to provide complete and accurate pricing information may result in disqualification.

      - Vendors shall include all costs for system training as specified in Section 7.

      - Vendors shall include a minimum of one (1) year parts and labor warranty (or supplement manufacturer warranties with maintenance as required to fulfill the 1st year requirement) on the entire system inclusive of the Total Cost Proposal. Vendors shall provide additional maintenance information on available plans and pricing as specified in Section 9. Maintenance fees for years 2+ shall not be included in the total proposal cost.

      - Vendors shall submit pricing in strict accordance with Schedule 1 and Schedule 2 response requirements for the Proposal response. Schedule 2 pricing must match Schedule 1 total.

      - Costs shall be submitted in accordance with Schedule 2 (2A, B, C & D) of the RFP for each separate RFP pricing component.

      - Unit pricing submitted in Schedule 2A must match the total proposal cost in Schedule 1.

      - Vendor shall provide spare projection lamps as part of the proposal response. Lamp sparing shall be furnished at 1:1 ratio. Lamp spares will be provided to the Owner at the time of project commencement and delivery of projection systems.

Section 6 – SCOPE OF WORK AND TECHNICAL REQUIREMENTS

  - Base Proposal #1 - Projection Systems and Audio/Visual Infrastructure at Dripping Springs and Walnut Springs ES

    - Classroom Projection Systems

      - Classroom Projectors

The Vendor shall furnish and install one (1) each Epson 822+ 2600 Lumen XGA LCD Projectors with remote controls in each classroom as indicated on the Audio/Visual Drawings at Dropping Springs ES. Vendors shall furnish and install the projector plate, projector interface, mount and extension as necessary to install the projection assembly to the ceiling plates installed in each classroom to achieve a ~12’ throw distance and a 4.3:1 aspect ratio.

The Vendor shall furnish and install one (1) each 3M DMS-800 Digital Media Wall Mount Projector with Remote Control in the Dripping Springs ES Activities Building as indicated on the A/V Drawings. This projector shall be furnished with one (1) replacement lamp. The exact mounting height shall be coordinated prior to installation.

      - Classroom Projector Mounts

The Vendor shall furnish and install one (1) each Peerless CMJ-455 ceiling plate with the appropriate extension pole, projector mount/interface as specified. Classrooms are 9.0’ ceiling heights. All mounting hardware shall be manufactured by Peerless. Ceiling plates installed in rooms with existing 2’X2’ tile systems shall be installed to replace the existing ceiling tile, ceiling plates installed in rooms with 2’X4’ tile systems shall be installed above the 2’X4’ tile system to conceal the plate. The Vendor shall install a Peerless structural mount with the appropriate length extension in the Dripping Springs ES library to accommodate the gabled ceiling condition. Ceiling mounting systems shall be installed utilizing manufacturers approved methods and guidelines.

      - Classroom Projection Screens

The Vendor shall furnish and install one (1) each 6’X8’ Da-Lite Model ‘C’ Matte white Projection Screen in each classroom as indicated on the Audio/Visual Drawings. Vendor shall wall mount the projection screens using Da-Lite #6 wall brackets in each classroom. Wall brackets shall be installed on a vendor furnished and installed 10’X2’X¾” Birch or Red Oak backboard to ensure long-term stability and safety.

Backboard shall be attached to existing walls at the stud line(s). Screens shall be installed in each classroom to achieve a ~12’ throw distance and a 4.3:1 aspect ratio.

The Vendor shall furnish and install one (1) each 70”X70” Da-lite Model ‘B’ Matte white projection screen in the Dripping Springs ES Activities Building as indicated on the A/V Drawings. The exact mounting height shall be coordinated prior to installation.

The 400 wing at Walnut Springs ES contains existing 6’X8’ projection screens as indicated on the Audio/Visual Drawings. Vendor shall remove, raise and re-install projection screens in the area as indicated on the A/V Drawings. Projection screens in the 400 wing shall be re-installed per the specification requirements for Classrooms as defined in 6.1.1.2.

    - Classroom Audio/Video Infrastructure

      - Multi-Media Raceways (M/M Only Locations)

The Vendor shall furnish and install one (1) each Panduit single channel T-70 Multi-Media raceway in each classroom as indicated on the Audio/Visual Drawings. Multi-Media raceway systems shall consist of a single 8’ vertical section of raceway complete with entrance fitting, two (2) device brackets and two (2) electrical faceplates (Decora Style). The top device shall be centered at ~18” A.F.F. The exact placements of all classroom raceway systems shall be coordinated with the Owner prior to installation.

      - Multi-Media Raceway Inserts

The Vendor shall furnish and install the following A/V and data inserts in the multi-media raceway system:

    - Upper Device Bracket - One (1) each Rapid-Run VGA/Audio Wall Plate

    - Lower Device Bracket – One (1) each Rapid-Run Composite/S-Video Wall Plate

      - Multi-Media Inter-connect

The Vendor shall furnish and install the following A/V interconnect cables between the Multi-Media raceway inserts and the Classroom Projector System:

    - One (1) each Rapid Run UXGA 50’ Runner cable, VGA Wall Plate to Projector

    - One (1) each Rapid Run 5-Coax 50’ Runner cable, Composite Wall Plate to Projector

    - One (1) each Rapid Run VGA/Audio Flying Lead at Projector

    - One (1) each Rapid Run Composite/S-Video Flying Lead at Projector

The Vendor shall route A/V interconnect cables above ceiling between A/V raceway and projection plate utilizing a j-hook system. Flying leads shall be routed down extension pipe and terminated directly to projector inputs.

      - Multi-Media Patch Cords

The Vendor shall furnish and install one (1) each of the following A/V patch cords at each A/V Raceway location:

    - One (1) each 6’ VGA Cable

    - One (1) each 6’ 3.5 Mini Audio to 3.5 Mini Audio Cable

    - One (1) each 6’ Composite RCA (YRW) Cable

    - One (1) each 16’ S-Video Cable

      - Multi-Media Raceways (M/M and Data Locations)

The Vendor shall furnish and install one (1) each Panduit Twin-70 dual channel Multi-Media raceway in each classroom as indicated on the Audio/Visual Drawings. Multi-Media raceway systems shall consist of a single 8’ vertical section of raceway complete with entrance fitting, three (3) device brackets, two (2) electrical faceplates (Decora Style) and one (1) duplex data faceplate on the low-voltage channel and one (1) device bracket with blank on the high voltage channel of the raceway adjacent to the two top low-voltage device brackets. The high voltage devices shall be blanked off, unless additive proposal #1 is accepted. All device brackets installed on the right channel are reserved for low-voltage devices and cabling and all device brackets on the left channel are reserved for high-voltage. The middle device shall be centered at ~18” A.F.F. The exact placements of all classroom raceway systems shall be coordinated with the Owner prior to installation.

      - Multi-Media Raceway Inserts

The Vendor shall furnish and install the following A/V and data inserts in the multi-media raceway system:

    - Top Device Bracket (R) - One (1) each Rapid-Run VGA/Audio Wall Plate

    - Middle Device Bracket (R) – One (1) each Rapid-Run Composite/S-Video Wall Plate

    - Lower Device Bracket (R) – One (1) each Panduit Duplex Data Faceplate w/Blanks

    - Top Device Bracket (L) – Blank (Unless Additive Proposal #1 is accepted)

      - Multi-Media Inter-connect

The Vendor shall furnish and install the following A/V interconnect cables between the Multi-Media raceway inserts and the Classroom Projector System:

    - One (1) each Rapid Run UXGA 50’ Runner cable, VGA Wall Plate to Projector

    - One (1) each Rapid Run 5-Coax 50’ Runner cable, Composite Wall Plate to Projector

    - One (1) each Rapid Run VGA/Audio Flying Lead at Projector

    - One (1) each Rapid Run Composite/S-Video Flying Lead at Projector

    - One (1) each Category 5e cable between Raceway and nearest MDF/IDF Room

The Vendor shall route A/V interconnect cables above ceiling between A/V raceway and projection plate utilizing a j-hook system. Flying leads shall be routed down extension pipe and terminated directly to projector inputs.

      - Multi-Media Patch Cords

The Vendor shall furnish and install one (1) each of the following A/V patch cords at each A/V Raceway location:

    - One (1) each 6’ VGA Cable

    - One (1) each 6’ 3.5 Mini Audio to 3.5 Mini Audio Cable

    - One (1) each 6’ Composite RCA (YRW) Cable

    - One (1) each 16’ S-Video Cable

    - One (1) each 3M Category 5e Patch Cord (Blue)

      - Projector Faceplate and Data Drop

The Vendor shall furnish and install one (1) each Panduit or Ortronics simplex faceplate with one (1) each Category 5e cable routed from the nearest telecommunications closet as indicated on the audio/visual drawings.  Category 5e cable shall be installed in accordance with ANSI/EIA/TIA-568 and terminated on new RJ-45 patch panels at the telecom room and new modular RJ-45 jacks at each projector plate as indicated on the audio/visual drawings.

Vendor shall provide one (1) each 1’ RJ-45 Category 5e patch cord (Black) for each projector location and one (1) each 1M patch cord (Blue) for every drop terminated at the telecommunications closet. Active LAN electronics will be provided via separate contract.

      - Speaker Systems

The Vendor shall furnish and install amplified 2-speaker systems OWI, AMP IC-5 as specified in each classroom as indicated on the Audio/Visual Drawings. Speakers shall be installed in a manner consistent with the drawings and consistent with manufacturers guidelines. The exact placement of classroom speakers shall be coordinated prior to installation. The vendor shall furnish and install the following infrastructure in support of classroom audio systems:

    - One (1) Each, Pre-Amp Audio OUT Cable between Projector and Master Speaker

    - One (1) Each, 2-Conductor 18AWG speaker cable between Master and Slave

    - One (1) Each, 2-Conductor 16AWG power cable between Master and power brick at ceiling plate

    - Cafeteria Projection Systems

      - Cafeteria Projector

The Vendor shall furnish and install one (1) each Epson 7900NL 4000 Lumen XGA LCD Projector with the appropriate long-throw lens in the Cafeteria as indicated on the Audio/Visual Drawings. Vendor shall furnish and install a peerless wall arm mounting system for the projector as indicated on the drawings. Vendor shall furnish and install a long-throw lens for the cafeteria projector capable of projecting onto a 12’ X 12’ screen from the rear of the room as indicated on the Audio/Visual Drawings. The exact placement and mounting of this projection unit shall be coordinated prior to installation. The approximate throw distances are indicated on the A/V Drawings. Contractor is responsible for field verification of the exact throw distance prior to ordering and installation of the long-throw lens.

      - Cafeteria Projector Mounts

The Vendor shall furnish and install one (1) each Peerless PWA-14 Wall Arm mount with the appropriate projector mount/interface as specified or required. All mounting hardware shall be manufactured by Peerless. Wall mounts shall be installed utilizing manufacturers approved methods and guidelines.  The exact placement of the projection mounts in the cafeteria areas shall be coordinated prior to installation.

      - Cafeteria Projection Screen

The Vendor shall furnish and install one (1) each Da-Lite Motorized Electrol 12’X12’ Motorized Projection Screen at the Stage in the Cafeteria as indicated on the Audio/Visual Drawings. Projection screen shall be matte white. Exact placement and mounting of this screen shall be coordinated with the Owner prior to installation.

    - Cafeteria Audio/Video Infrastructure

      - Multi-Media Raceways

The Vendor shall furnish and install one (1) each Panduit Twin-70 Multi-Media raceway in each cafeteria/stage location as indicated on the Audio/Visual Drawings. Multi-Media raceway systems shall consist of a single 10’ vertical section of raceway complete with entrance fitting, three (3) device brackets, two (2) electrical faceplates (Decora Style) and one (1) duplex data faceplate on the low-voltage channel and two (2) device brackets with blanks on the high voltage channel of the raceway adjacent to the two top low-voltage device brackets. The high voltage devices shall be blanked off. All device brackets installed on the right channel are reserved for low-voltage devices and cabling and all device brackets on the left channel are reserved for high-voltage. The middle device shall be centered at ~18” A.F.F. The exact placements of all cafeteria raceway systems shall be coordinated with the Owner prior to installation.

      - Multi-Media Raceway Inserts

The Vendor shall furnish and install the following A/V and data inserts in the multi-media raceway system:

    - Top Device Bracket (R) - One (1) each Rapid-Run VGA/Audio Wall Plate

    - Middle Device Bracket (R) – One (1) each Rapid-Run Composite/S-Video Wall Plate

    - Lower Device Bracket (R) – One (1) each Panduit Duplex Data Faceplate w/Blanks

    - Top Device Bracket (L) – Blank

    - Middle Device Bracket (L) - Blank

      - Multi-Media Inter-connect

The Vendor shall furnish and install the following A/V interconnect cables between the Multi-Media raceway inserts and the Classroom Projector System:

    - One (1) each Rapid Run UXGA 150’ Runner cable, VGA Wall Plate to Projector

    - One (1) each Rapid Run 5-Coax 150’ Runner cable, Composite Wall Plate to Projector

    - One (1) each Rapid Run VGA/Audio Flying Lead at Projector

    - One (1) each Rapid Run Composite/S-Video Flying Lead at Projector

    - One (1) each shielded 2 conductor 18AWG from raceway to Dukane Amp

The Vendor shall route A/V interconnect cables above ceiling between A/V raceway and projection plate utilizing a j-hook system.

      - Multi-Media Patch Cords

The Vendor shall furnish and install one (1) each of the following A/V patch cords at each A/V Raceway location:

    - One (1) each 6’ VGA Cable at Raceway

    - One (1) each 6’ 3.5 Mini Audio to 3.5 Mini Audio Cable at Raceway

    - One (1) each 6’ Composite RCA (YRW) Cable at Raceway

    - One (1) each 16’ S-Video Cable at Raceway

    - One (1) each 1’ Category 5e Patch Cord (Black) at Projector

    - One (1) each 1’ VGA Cable at Projector

    - One (1) each 1’ 3.5 Mini Audio to 3.5 Mini Audio Cable at Projector

    - One (1) each 1’ Composite RCA (YRW) at Projector

    - One (1) each 1’ S-Video at Projector

    - One (1) each 3M Category 5e Patch Cord (Blue) at Raceway

      - Cafeteria Projector Data Drop

The Vendor shall furnish and install one (1) each Panduit or Ortronics simplex faceplate with one (1) each Category 5e cable routed from the nearest telecommunications closet as indicated on the audio/visual drawings.  Category 5e cable shall be installed in accordance with ANSI/EIA/TIA-568 and terminated on new RJ-45 patch panels at the telecom room and new modular RJ-45 jacks at each projector plate as indicated on the audio/visual drawings.

Vendor shall provide one (1) each 1’ RJ-45 Category 5e patch cord for at each projector location and one (1) each 1M patch cord for every drop terminated at the telecommunications closet. Active LAN electronics will be provided via separate contract.

      - Speaker Systems

The Vendor shall furnish and install amplified 4-speaker systems OWI, AMP IC-5 from the STAGE RIGHT Multi-Media Raceway as specified in each cafeteria as indicated on the Audio/Visual Drawings. Speakers shall be installed in a manner consistent with the drawings and consistent with manufacturers guidelines. The exact placement of classroom speakers shall be coordinated prior to installation. The vendor shall furnish and install the following infrastructure in support of classroom audio systems:

    - One (1) Each, Pre-Amp Audio OUT Cable between Projector and Master Speaker

    - One (1) Each, 2-Conductor 18AWG speaker cable between Master and Slave

    - One (1) Each, 2-Conductor 16AWG power cable between Master and power brick at ceiling plate

      - Dukane Sound System Integration

The Vendor shall provide audio inputs from the STAGE LEFT Multi-Media Raceway to the existing Dukane Sound Systems as indicated on the Audio/Visual Drawings. Vendor shall provide a shielded 18AWG two conductor cable between VGA and Composite audio inputs on the STAGE LEFT raceway to the existing Dukane amplifier as indicated on the Audio/Visual Drawings.

      - Video Line Divers/Amplifiers

The Vendor shall furnish and install one (1) each Extron or equivalent audio/video line driver/amplifiers at each cafeteria stage multi-media raceway location. The exact placement of these devices shall be coordinated with the Owner prior to installation.

    - Rough-In Classrooms

      - Classroom Rough-in Only Locations

The Vendor shall furnish and install classroom rough-in for future A/V systems as indicated on the Audio/Visual Drawings. Rough-in only locations shall contain the one (1) 6’X8’ Screen, one (1) M/M Single Channel Raceway with Interconnect Infrastructure and one (1) Projection ceiling plate.

    - Projection Management and Bulb Sparing

      - Projector Management Software

The Vendor shall furnish, install and configure projection management software on an Owner provided PC and configure each projector on the network to be managed utilizing the Epson software suite. Vendor is responsible to integrate the management platform and configure all projectors and management station for a fully functional projection management system.

      - Bulb Sparing

The Vendor shall furnish one (1) spare bulb for each projectors installed as part of the proposal response. Vendor shall furnish as part of the RFP response, a spare lamp for each projector installed as part of this project on a 1:5 ratio as defined in Section 5 of the RFP document. Spare bulbs shall be turned over to the Owner no later than substantial completion of the project.

  - Additive Proposal #1 – Projection Systems at Central Office Board Room and Computer Lab

    - Central Office – Board Room and Computer Lab Projection and A/V Infrastructure Systems

Vendor shall furnish and install one (1) each wall mounted 4000 Lumen long-throw projection system with A/V inter-connects, 4 speaker system and a 12’X12’ Motorized projection screen at the Central Office Board Room. The exact placements of the systems shall be coordinated with the successful vendor. Measurements can be taken at the pre-proposal conference.

Vendor shall furnish and install one (1) each 2600 Lumber projection system with A/V inter-connect at the Central Office Computer Lab. System shall be installed to match typical Classroom systems as in every respect as specified in Base Proposal #1. The exact placements of the systems shall be coordinated with the successful vendor.

  - Additive Proposal #2 – 110vac Power at Projection Plates and Multi-Media Raceways with Data

    - 110vac power at Projector Plates and Multi-Media Raceways with Data (Dual Channel)

The Vendor shall furnish and install one (1) each duplex 110vac NEMA 5-15 outlet at each projection plate and cafeteria projector raceway (decora style) as indicated on the Audio/Visual drawings. The duplex outlet shall be installed in a NEMA rated box mounted on the high voltage knock-out on the projection plate or raceway system as indicated on the Audio/Visual drawings. Vendor shall locate and identify an existing 110vac circuit above ceiling at each location and route the appropriate conductors via flex conduit to each outlet.

The Vendor shall furnish and install one (1) each duplex 110vac NEMA 5-15 outlet at each multi-media/data raceway as indicated on the Audio/Visual drawings (decora style). The duplex outlet shall be installed in the high-voltage channel of the dual channel raceway systems mounted on the high voltage knock-out on the projection plate.

Vendor shall locate and identify an existing 110vac circuit above ceiling at each M/M and Data raceway location and route the appropriate conductors via flex conduit to each outlet. Additive Proposal #2 shall include power provisions for additive proposal #1.

In the event Additive Proposal #2 is accepted, the successful vendor shall be provided with a typical sealed engineering drawing for both a typical Projection Plate location and a typical dual-channel M/M and Data Raceway system.

  - Alternate Proposal #1 – Owner Provided Projection Systems

    - Owner provided projection systems

Vendor shall provide alternative pricing to Base Proposal #1 for the installation of all infrastructure systems associated with Base Proposal #1 with Owner furnished projector systems. Vendor shall be responsible for the transportation and installation of Owner provided projectors as part of the proposal cost.

# Section 7 – TRAINING REQUIREMENTS

      - The Vendor shall provide complete training services for all products and feature sets       installed as part of the Request for Proposal.

      - Cost for training shall be inclusive of the total cost proposal and included in the Request for Proposal.

      - Vendor shall provide all training events for the staff of DSISD at a mutually agreeable time and date, prior to Systems Acceptance.

      - Vendor shall provide a basic user training event and shall educate approximately 24 DSISD faculty and staff on the functionality of the projection systems, system interfaces, remote controls and general operations.

      - Proposed training services and requirements shall be submitted in Schedule 14 of the Request for Proposal Response.

# Section 8 – PROJECT MANAGEMENT AND CLOSE-OUT REQUIREMENTS

- The Vendor shall provide a designated representative as Project Manager and be available for all project meetings and all inspection activities. It is anticipated that this project will have a minimum of seven (7) formal project meetings and two (2) formal inspection events.

- The Project Manager shall function as the single point of contact between the Vendor and Owner for the duration of the project.

- All project correspondence shall be sent in hardcopy to all relevant parties via letter, facsimile or email. Verbal agreements, arrangements or other communications shall not be binding on either party or have precedent for the duration of Contract.

- The Vendor shall present the Owner an installation schedule prior to beginning the installation. All project activities shall be coordinated with the Owner in advance of such stated activities.

- Upon successful operation and cutover of the system, the Vendor shall notify the Owner that the installation is substantially complete at which time the Owner and its designated representative shall perform a formal Substantial Completion inspection to verify the work. Any and all discrepancies will be documented and submitted to both the Vendor and Owner with the Certificate of Substantial Completion. The Vendor shall have fifteen (15) working days to resolve any and all system discrepancies noted on the Certificate of Substantial Completion.

- Upon completion of the system discrepancies noted on the Certificate of Substantial Completion or fifteen (15) working days have elapsed since Substantial Completion, the Owner shall perform a Systems Acceptance inspection to verify all prior system discrepancies have been resolved to the Owners satisfaction. A Certificate of Systems Acceptance shall be issued to both the Vendor and Owner upon successful completion of the project.

- Title for all equipment (Hardware and Software) shall not pass to the Owner from the Vendor until the system is accepted and both the Owner and Vendor execute the Certificate of Systems Acceptance.

- In the event further discrepancies are noted after substantial completion or at the time of the System Acceptance Inspection. The Vendor will be granted an additional five (5) working days to resolve any issues and a re-inspection for System Acceptance will be re-scheduled accordingly. In the event the Vendor fails to rectify system discrepancies within the Substantial or Final Acceptance periods, the Owner will be entitled to exercise its right for liquidated damages as defined in the Proposed Master Sales Agreement for the duration or portion thereof the system remains defective.

- Vendor shall provide the Owner one (1) original and two (2) identical copy sets of the system installation and O&M documentation at the time of Substantial Completion. This documentation at a minimum shall contain the following:

  - Vendor shall provide product cut-sheets and manuals for every hardware and software product installed as part of this project.

  - Vendor shall provide the Owner a complete listing of all equipment and software installed as part of this project. This data shall be shown on a spreadsheet format, indicating, Manufacturer, Description, Model #, Serial # and all applicable revision or release information.

  - Vendor shall provide complete system and configuration database information. This information shall be shown in a native system print out or spreadsheet format indicating the appropriate projector information and network information.

  - Vendor shall provide the Owner logical network diagrams indicating both Physical and logical network topology and projection systems including physical arrangement and IP addressing.

  - Vendor shall provide the Owner all original and archival copies of the operational and application software with applicable software licenses and code keys. All software must be submitted in the original packaging and contain original documentation.

  - Vendor shall provide the Owner with a logical installation drawings indicating the physical installation of the system in both plan and rack elevation format. Softcopy of the drawings are to be in Visio, PDF or AutoCAD R12 format.

  - Vendor shall provide all applicable systems documentation in Hard or Softcopy as applicable.

  - Vendor shall submit close-out documentation in bound and tabbed binders to Owner. Soft documentation, where applicable are to be included in the binder using CD sleeves.

- Final Payment, including retained funds shall be made to the Vendor upon the execution and receipt of the following documents:

  - Executed Certificate of Substantial Completion

  - Executed Certificate of Systems Acceptance

  - Notarized affidavit of release of lien for project

  - Notarized affidavit of clear title for product

  - Executed Contingency Change Order (return of un-used monies)

  - Valid Vendor invoice indicating the correct final balance due

# Section 9 – WARRANTY AND MAINTENANCE REQUIREMENTS

- The Vendor shall provide a comprehensive one (1) year parts and labor warranty from the date of System Acceptance.

- Warranty shall commence for a full calendar year on the date of formal systems acceptance.

- Warranty shall cover both hardware and software, including the installation of software patches or other necessary upgrades, and include all parts, labor shipping and any other ancillary expenses required to execute warranty service during the warranty period.

- Vendor is required to warrant the all of the work associated with this Request for Proposal for one (1) calendar year regardless of any manufacturer’s disclaimers, limitations or other special conditions associated with products purchased under this Request for Proposal.

- Vendor is required to promptly notify the Owner in advance of any pending changes to the terms of warranty originally expressed at the time of contract.

- Vendor shall provide no less than a same day response with next day repair of the system during the warranty period.

- Any and all costs associated with the one (1) year warranty shall be inclusive of the total cost proposal(s) and included as a line item on Schedule 2 of the Request for Proposal.

- All warranty documentation, proposed agreements or other information shall be submitted in Schedule 12 of the Request for Proposal response.

- The Vendor shall provide a proposed maintenance agreement for the DSISD system as proposed.

- Maintenance if accepted by the Owner, shall commence on the first day following the expiration of the one (1) year warranty period.

- DSISD shall have the exclusive right to execute a Maintenance Agreement with the Vendor at the time of contract execution, or at any other time during the project and prior to the expiration of the one (1) year warranty.

- Pricing submitted for Maintenance shall be firm for a period of no less than one (1) calendar year from the date of systems acceptance.

- Costs associated with maintenance programs shall be shown as a total cost proposal and submitted in Schedule 11.

- Proposed annual maintenance or multi-year programs shall indicate any applicable discounts for a term agreement.

- Maintenance pricing shall be excluded from the total price proposals.

- Maintenance programs and pricing shall be presented to the DSISD indicating the Vendors various levels of service and the associated cost.

- Maintenance documentation, proposed agreement contracts or any other information shall be submitted in Schedule 13 of the Request for Proposal  response.

# Section 10 – SCHEDULES TO BE EXECUTED WITH VENDOR RESPONSE

Vendor shall complete, execute and return the Schedule(s) 1 through 15 as defined in Section 2 of this Request for Request for Proposal Document. Failure to complete, sign, and/or notarize applicable forms as requested or required will result in disqualification or a non-responsive proposal response.

## Schedule 1 - Proposal Form

Having carefully examined the Notice to Vendor, General Terms and Conditions for Proposal, Bonding and Insurance Requirements, Scope of Work, General Requirements, Proposal Form and attached Schedules and Exhibits, acknowledging _____ Addenda, the undersigned hereby proposes and agrees to furnish goods and/or services in strict compliance with the specifications and conditions at the prices quoted unless noted in writing.

The undersigned affirms that they are duly authorized to execute this proposal and that this company, corporation, firm, partnership or individual has not prepared this proposal in collusion with any other Vendor, and that the contents of this proposal as to prices, terms or conditions of said proposal have not been communicated by the undersigned nor by any employee or agent to any other person engaged in this type of business prior to the official opening of this proposal.

TOTAL BASE PROPOSAL #1 COST, INCLUDING PAYMENT/PERFORMANCE BOND(s) AND 5% PROJECT CONTINGENCY ($___________________________)_______________________

_____________________________________________________________________________

FIRM NAME

ADDRESS

CITY/STATE/ZIP

TELEPHONE NO.

FACSIMILE NO.

AUTHORIZED SIGNATURE

TYPED/PRINTED NAME

POSITION WITH COMPANY

REPRESENTATIVE'S NAME

TOTAL ADDITIVE PROPOSAL #1 COST, INCLUDING PAYMENT/PERFORMANCE BOND(s) AND 5% PROJECT CONTINGENCY ($___________________________)_________________________________________________

______________________________________________________________________________

FIRM NAME

ADDRESS

CITY/STATE/ZIP

TELEPHONE NO.

FACSIMILE NO.

AUTHORIZED SIGNATURE

TYPED/PRINTED NAME

POSITION WITH COMPANY

REPRESENTATIVE'S NAME

TOTAL ADDITIVE PROPOSAL #2 COST, INCLUDING PAYMENT/PERFORMANCE BOND(s) AND 5% PROJECT CONTINGENCY ($___________________________)_________________________________________________

______________________________________________________________________________

FIRM NAME

ADDRESS

CITY/STATE/ZIP

TELEPHONE NO.

FACSIMILE NO.

AUTHORIZED SIGNATURE

TYPED/PRINTED NAME

POSITION WITH COMPANY

REPRESENTATIVE'S NAME

TOTAL ALTERNATE PROPOSAL #1 COST, INCLUDING PAYMENT/PERFORMANCE BOND(s) AND 5% PROJECT CONTINGENCY ($___________________________)_________________________________________________

______________________________________________________________________________

FIRM NAME

ADDRESS

CITY/STATE/ZIP

TELEPHONE NO.

FACSIMILE NO.

AUTHORIZED SIGNATURE

TYPED/PRINTED NAME

POSITION WITH COMPANY

REPRESENTATIVE'S NAME

Schedule 2 – Pricing Details

The Vendor shall provide a complete total cost response with proposal submitted as Schedule 2A, which must match the total cost proposal submitted in Schedule 1.

The Vendor shall provide a complete unit cost response with proposal submitted as Schedule 2B.

The Vendor shall provide detailed pricing per campus and scope submitted as Schedule 2C.

The Vendor shall provide detailed materials and labor pricing in Excel spreadsheet format submitted as Schedule 2D format clearly identifying individual products, description, part number, unit cost, installation cost, unit quantity required and a total extended cost for every component required for the Proposal Response.

Pricing for each Scope of Work (Section 6.1 – Section 6.4) shall be provided on a separate Excel Spreadsheet. Unit Pricing shall exclude taxes, as the DSISD is a tax- exempt entity.

Unit price schedules shall reflect a complete cost detail, including the total product and services costs, warranty, bonding, and contingency allowances, less any trade-in allowance. Unit price cost details must match the Proposal total as indicated on the Schedule 1 Proposal Form.

Unit pricing shall firm for a period of no less than 180 days prior to award of contract and no less than 12 calendar months after final systems acceptance per the terms in Section 2 of this document.

## Schedule 2A – TOTAL COST SUBMITTAL

The Vendor shall provide a complete total cost response with proposal submitted as Schedule 2A, which must match the total cost proposal submitted in Schedule 1.

| Section | Scope of Work | Scope Sub-Total | Total Price Proposal |
| --- | --- | --- | --- |
| 6.1 |  |  |  |
| 6.1.1 | Classroom Projection Systems Sub-Total = |  |  |
| 6.1.2 | Classroom A/V Infrastructure Sub-Total = |  |  |
| 6.1.3 | Cafeteria Projection Systems Sub-Total = |  |  |
| 6.1.4 | Cafeteria A/V Infrastructure Sub-Total = |  |  |
| 6.1.5 | Classroom Rough-in Infrastructure Sub-Total = |  |  |
| 6.1.6 | Projector Management and Sparing Sub-Total = |  |  |
|  |  | SECTION 6.1 SUB- TOTAL = |  |
|  |  | SECTION 6.1 SOW SUB- TOTAL = |  |
|  |  | TOTAL BONDING = |  |
|  |  | 5.0% PROJECT CONTINGENCY TOTAL = |  |
|  |  | TOTAL COST PROPOSAL = |  |

ADDITIVE PROPOSAL #1

| Section | Scope of Work | Scope Sub-Total | Total Price Proposal |
| --- | --- | --- | --- |
| 6.2 |  |  |  |
| 6.2.1 | Central Office Board Room & Computer Lab Sub-Total = |  |  |
|  |  | SECTION 6.2 SUB- TOTAL = |  |
|  |  | SECTION 6.2 SOW SUB- TOTAL = |  |
|  |  | TOTAL BONDING = |  |
|  |  | 5.0% PROJECT CONTINGENCY TOTAL = |  |
|  |  | TOTAL COST PROPOSAL = |  |

ADDITIVE PROPOSAL #2

| Section | Scope of Work | Scope Sub-Total | Total Price Proposal |
| --- | --- | --- | --- |
| 6.3 |  |  |  |
| 6.3.1 | Electrical Systems Sub-Total = |  |  |
|  |  | SECTION 6.3 SUB- TOTAL = |  |
|  |  | SECTION 6.3 SOW SUB- TOTAL = |  |
|  |  | TOTAL BONDING = |  |
|  |  | 5.0% PROJECT CONTINGENCY TOTAL = |  |
|  |  | TOTAL COST PROPOSAL = |  |

ALTERNATE PROPOSAL #1

| Section | Scope of Work | Scope Sub-Total | Total Price Proposal |
| --- | --- | --- | --- |
| 6.4 |  |  |  |
| 6.4.1 | Owner Furnished Projector Sub-Total = |  |  |
|  |  | SECTION 6.4 SUB- TOTAL = |  |
|  |  | SECTION 6.4 SOW SUB- TOTAL = |  |
|  |  | TOTAL BONDING = |  |
|  |  | 5.0% PROJECT CONTINGENCY TOTAL = |  |
|  |  | TOTAL COST PROPOSAL = |  |

## Schedule 2B – UNIT PRICING SUBMITTAL

The Vendor shall provide a complete unit cost for the following, including materials and labor, submitted as Schedule 2B.

| Section | Unit Description | Unit | Unit Price |
| --- | --- | --- | --- |
| 6.1.1 | Epson 822+ LCD Projector = | Ea. |  |
| 6.1.1 | 2600 Lumen Projection Bulb = | Ea. |  |
| 6.1.1 | Epson 7900NL LCD Projector = | Ea. |  |
| 6.1.1 | 4000 Lumen Projection Bulb = | Ea. |  |
| 6.1.1 | Peerless CMJ-455 Plate & Mount (Assy) = | Ea. |  |
| 6.1.2 | Panduit T-70 A/V Raceway (Complete) = | Ea. |  |
| 6.1.2 | IC- 5 Speaker System (Master & Slave) = | Ea. |  |
| 6.1.2 | VGA A/V Interconnect Cables (Assy) = | Ea. |  |
| 6.1.3 | Composite A/V Interconnect Cables (Assy) = | Ea. |  |
| 6.1.3 | VGA Patch Cable = | Ea. |  |
| 6.1.3 | Audio Patch Cable = | Ea. |  |
| 6.1.3 | Composite Patch Cable = | Ea. |  |
| 6.1.3 | S-Video Cable = | Ea. |  |
| 6.1.3 | Da-Lite 6’X8’ Screen = | Ea. |  |
| 6.1.3 | Da-Lite 12’X12’ Motorized Screen = | Ea. |  |
| 6.1.3 | Category 5E Cable Drop (Complete) = | Ea. |  |
| 6.2 | NEMA 5-15 110vac outlet (Additive #) =2 | Ea. |  |

## Schedule 2C – CAMPUS PRICING SUBMITTAL

The Vendor shall provide a detailed list of all materials and labor pricing for each campus submitted as Schedule 2C:

BASE PROPOSAL:

Base Proposal #1 – Walnut Springs ES: $__________________________________

Base Proposal #1 – Dripping Springs ES: $_________________________________

ADDITIVE PROPOSAL:

Additive Proposal #1 – Central Office: $____________________________________

Additive Proposal #2 – Walnut Springs ES: $________________________________

Additive Proposal #2 – Dripping Springs ES: $_______________________________

Additive Proposal #2 – Central Office: $ ____________________________________

ALTERNATE PROPOSAL:

Alternate Proposal #1 – Walnut Springs ES: $__________________________________

Alternate Proposal #1 – Dripping Springs ES: $_________________________________

Alternate Proposal #1 – Central Office: $____________________________________

## Schedule 2D – MATERIALS AND LABOR PRICING SUBMITTAL

The Vendor shall provide detailed list of all materials and labor pricing in Excel spreadsheet format for each campus submitted as Schedule 2C, clearly identifying Campus, individual product(s), description, part number, unit cost, installation cost, unit quantity required and a total extended cost for every component required for the Proposal Response.

## Schedule 3 - Hold Harmless Agreement

The Contractor shall defend, indemnify, and hold harmless, Dripping Springs ISD and all of its trustees, officers, agents, and employees from and against all suits, actions, or claims of any character brought for or on account of any injuries or damages (including death) received or sustained by any person or property on account of, arising out of, or in connection with, any negligent act or omission of Contractor or any agent, employee, subcontractor, or supplier of Contractor in the execution or performance of the Contract for a VoIP and Messaging System for Dripping Springs ISD.

The Contractor shall also defend, indemnify and hold harmless, Dripping Springs ISD and all of its trustees, officers, agents, and employees, from and against claims by any subcontractor, supplier, laborer, materials, or mechanic for payment for work or materials provided on behalf of the Contractor in the performance of the Contract and all such claimants shall look solely to Contractor and not to Dripping Springs ISD for satisfaction of such claims.

This Hold Harmless Agreement shall be binding upon the undersigned, and its successors, legal representatives, heirs and assigns.

DATED this ________ day of __________________, 20______.

CONTRACTOR:

_________________________________

By:______________________________

Name:______________________
					Title:_______________________

STATE OF TEXAS

COUNTY OF ______________________________

This instrument was acknowledged before me on the _____ day of _____________,

20_____, by ____________, ___________ of ______________, a Texas

_____________________, on behalf of said__________________.

_________________________________

Notary Public, State of Texas

## Schedule 4: Felony Conviction Notification

FELONY CONVICTION NOTICE

State of Texas Education Code, Section 44.034, Notification of Criminal History, Subsection (a), states “a person or business entity that enters into a contract with a school district must give advance notice to the district if the person or an owner or operator of the business entity has been convicted of a felony.  The notice must include a general description of the conduct resulting in the conviction of a felony”.

Subsection (b) states “a school district may terminate a contract with a person or business entity if the district determines that the person or business entity failed to give notice as required by Subsection (a) or misrepresented the conduct resulting in the conviction.  The district must compensate the person or business entity for services performed before the termination of the contract”.

This Notice is Not Required of a Publicly-Held Corporation.

I, the undersigned agent for the firm named below, certify that the information concerning notification of felony convictions has been reviewed by me and the following information furnished is true to the best of my knowledge.

Vendor’s Name (Printed):

Authorized Company Official’s Name (Printed):

****Sign Only A, B, or C****

A.	My firm is a publicly-held corporation, therefore, this reporting requirement is not applicable.

Signature of Company Official:

B.	My firm is not owned or operated by anyone who has been convicted of a felony.

Signature of Company Official:

C.	My firm is owned or operated by the following individual(s) who has/have been convicted of a felony:

Name of felon(s):

Details of Conviction(s):

Signature of Company Official:

## Schedule 5 - Non-Collusive Certification

By submission of a proposal, the Vendor certifies that:

(a)	This proposal has been independently arrived at without collusion with any other bidder or with any competitor;

(b)	This proposal has not been knowingly disclosed and will not be knowingly disclosed, prior to the opening of bids, or proposals for this project, to any other bidder, competitor, or potential competitor;

(c)	No attempt has been or will be made to induce any other person, partnership or corporation to submit or not to submit a proposal;

(d)	The person signing this proposal certifies that he has fully informed himself regarding the accuracy of the statements contained in this certification, and under the penalties being applicable to the bidder as well as to the person signing in its behalf.

___________________________________

Vendor Name

___________________________________

Authorized Signature

___________________________________

Title

## Schedule 6 – Certificate of Residency

CERTIFICATE OF RESIDENCY

The State of Texas has passed a law concerning non-resident contractors.  This law can be found in Texas Government Code under Chapter 2252, Subchapter A.  This law makes it necessary for the Dripping Springs Independent School District to determine the residency of its offerors.  In part, this law reads as follows:

“Section:  2252.001

(3)	‘Non-resident bidder’ refers to a person who is not a resident.

(4)	‘Resident bidder’ refers to a person whose principal place of business is in this state, including a contractor whose ultimate parent company or majority owner has its principal place of business in this state.

Section:  2252.002

A governmental entity may not award a governmental contract to a nonresident bidder unless the nonresident underbids the lowest bid submitted by a responsible resident bidder by an amount that is not less than the amount by which a resident bidder would be required to underbid the nonresident bidder to obtain a comparable contract in the state in which the nonresident’s principal place of business is located.”

I certify that

(Name of Company)

is, under Section:  2252.001 (3) and (4), a

Resident Bidder					    Non-resident Bidder

My or Our  principal place of business under Section:  2252.001 (3) and (4), is in the city of

in the state of 						.

Signature of Authorized Company Representative

Print Name

Title						Date

## Schedule 7 - Certificate of Insurance

The Vendor shall provide a Certificate of Insurance that meets or exceeds the insurance requirements of the Owner as specified in Section 1.

## Schedule 8: Conflict of Interest Statement; Form CIQ

The Vendor shall submit the executed counterpart of Form CIQ attached as Schedule 8.

## Schedule 9 - Exceptions to Request for Proposal Language

In the event the Vendor takes exception to the Request for Proposal and/or contract verbiage, the Vendor shall provide detailed list any and all exceptions to this Request for Proposal and any proposed replacement language.

## Schedule 10 - Warranty Information

The Vendor shall provide complete warranty documentation, including a statement of warranty. Warranty agreement, warranty costs and any proposed warranty contracts as defined in Section 9 of the Request for Proposal.

The Vendor is required as part of their response to provide a comprehensive one (1) year parts and labor warranty on all products and services procured under this Request for Proposal. Any costs for associated with warranties must be inclusive of the total proposal with warranty costs and clearly marked as such.

## Schedule 11 - Maintenance Information

The Vendor shall provide complete maintenance documentation including any proposed maintenance plans, maintenance costs and proposed maintenance contracts as defined in Section 9 of the Request for Proposal.

Maintenance pricing shall be identified and submitted in Schedule 11, but shall not be included in the total proposal(s) cos. Maintenance shall be at the sole discretion of the Owner to accept or decline per the requirements of Section 10 of the Request for Proposal.

## Schedule 12 - Vendor References

The Vendor shall provide no less than three (3) customer references defined in Section 2 of the Request for Proposal and attached as schedule 12.

## Schedule 13 - Company Information, Overview, Certifications and Training

The Vendor shall provide a listing of project personnel and any proposed sub-contractors planned for use on the project. Vendor shall also provide an overview of their company, experience, proposed training programs and all relevant Certifications attached as Schedule 13.

Will any part of this project be sub-contracted: (Y/N):_______

If yes, please indicate the following for each proposed sub-contractor:

Name of Sub-Contractor: _________________________________________________________

Company Contact: ______________________________________________________________

Company Phone: _______________________________________________________________

Description of Work to be sub-contracted:

_____________________________________________________________________________

Percentage of total Contract: ______________________________________________________

## Schedule 14: Proposed Product Information and Cut Sheets

The Vendor shall provide complete product information on all proposed products attached as Schedule 14.

## Schedule 15: Proposed Project Implementation Schedule

The Vendor shall provide a complete proposed project implementation schedule attached as Schedule 15.

Exhibit ‘A’ - Proposed Master Sales Agreement

# Master Sales Agreement

THIS IS AN AGREEMENT, entered into by and between Dripping Springs ISD, with principal offices at 530 W. Mercer, Dripping Springs, TX 78620 ("Owner"), and __________________________ ("Vendor"), with principal offices at _________________________________________ this _______ day of _________,2006. In consideration of the promises herein contained, the parties stipulate, represent and agree, each to the other, as follows:

1.	These Terms and Conditions, together with:

Exhibit I 	General Conditions of the DSISD-RFP #P08-008

Exhibit II 	RFP Requirement (Sections IV-IX) of the DSISD RFP #P08-008

Exhibit III 	Total Price Proposal; Schedule 1 of DSISD RFP #P08-008

Exhibit IV 	Itemized Unit Prices, Schedule 2 of the DSISD RFP #P08-008

Exhibit V	Payment and Performance Bond(s) in accordance with Texas Law

Exhibit VI 	Certificate of Vendor's Comprehensive General Liability Insurance

Exhibit VII	Warranty Agreement, Schedule 10 of the DSISD RFP#P08-008

Exhibit XIII	DSISD Purchase Order

Attached hereto and made part hereof, shall constitute contract and the entire present Agreement between the parties.

2.	No change in, addition to, or waiver of the terms, conditions and specifications contained herein shall be a binding obligation on either the Vendor or the Owner unless approved in writing by the Vendor and the Owner. Any and all changes agreed to between the parties shall become binding addendum to the agreement.

3.	Vendor proposes to sell to the Owner, Projection Systems, manufactured by EPSON ("Manufacturer").

4.	Owner shall have direct right of action against Vendor and Manufacturer, as Manufacturer so warrants in Exhibit IX, by any reason of any failure of any warranty.

- Vendor acknowledges that the Owner may desire to expand, reduce, change and/or modify the Equipment.  Exhibit IV (Unit Pricing) is a schedule of component parts including installation which same may be purchased by Owner at the total cost as provided at the time of proposal by the Vendor, not exceeding the date as indicated on the executed Certificate of Systems Acceptance.

Vendor warrants the prices contained in Exhibit IV (Unit Pricing) are guaranteed without fluctuation or change, for a period of twenty-four (24) calendar months after the execution date of the Certificate of Systems Acceptance of the installation.

Thereafter the prices contained in Exhibit IV shall be no higher than the Vendor's Published Price List then in effect for its other Owners in the Williamson County/Austin, Texas area.  Vendor warrants and agrees that all system components required to cause the Equipment to properly function are contained within Exhibit V and VI, and that all such components, or equivalent substitutions, are now in, and shall remain available from, regular stock for a period of ten (10) years commencing with Systems Acceptance, and further shall be installed within a reasonable time after receiving a request and order from the Owner for such said installation.

6.	Exhibit IV shall be used for the purpose of computing the final price for the Equipment listed in Exhibit III.  After acceptance thereof by Owner, an inventory shall be undertaken jointly by Owner, their designated representative(s) and Vendor determining the number of units for any component part of the Equipment that vary from the number of such components set forth in Exhibit IV.

The price for the Equipment for any deficit or excess or shall be increased and/or decreased at the unit price level set forth in Exhibit IV as necessary to complete the installation, and the stated amount thereof shall be deducted from or added to the total sale price of the Equipment to Owner as defined in this agreement.

- All materials and workmanship shall be subject to inspection and test by Owner and/or their designated representative(s) prior to cutover and acceptance.  Upon completion of installation, Vendor shall notify Owner, in writing, that the Equipment is ready for inspection and test.  Owner and/or their designated representative(s) and Vendor shall inspect and test the Equipment in accordance with the applicable Manufacturer installation manuals, and the technical specifications as defined by Exhibit II.

- Owner reserves the right to reject any or all Equipment, which contain defects in materials, workmanship or both, and fail to meet the technical specifications contained in Exhibit II, or the Vendor's warranties (expressed or implied).  Any and all rejected Equipment shall be removed at the sole expense of Vendor, including transportation both ways, promptly after written notification of such said rejection.  As to any rejected goods and/or services, Vendor shall bear all costs, of inspection and risk of loss.

- Payment by Owner for all Equipment and Services supplied hereunder shall not constitute acceptance of such, thereof if subsequent inspection discloses defects in material or workmanship, or failure to meet the specifications contained herein. In no event shall any equipment be rejected until the Vendor has had the opportunity to repair or replace the defective component(s) under warranty.

At such time as all inspections and tests shall have been completed to Owner and Vendor satisfaction, Vendor shall give Owner written notice thereof, and notice of the date on which the Equipment shall be placed into service ("Cutover"). On the date of the Cutover, the Owner and/or their designated representative(s) shall notify the Vendor in writing that the Cutover has been accepted and issue an executed Certificate of Substantial Completion with any and all system discrepancies noted. The Systems Cutover event shall constitute substantial completion of the entire system and place the system into active use by the Owner.

The Vendor shall have Fifteen (15) working days following Cutover/Substantial Completion the Vendor shall work to resolve all documented system discrepancies in Exhibit II to the satisfaction of the Owner.

The Owner shall have Fifteen (15) working days following Cutover/Substantial Completion for which to document and notify the Vendor in writing with any additional system discrepancies. The Vendor shall have an additional five (5) working days, following the fifteenth day to resolve any such discrepancies.

The Owner shall either accept the Equipment in writing, ("Acceptance") following the fifteen (15) day period, or notify Vendor, in writing, of any defects in material or workmanship, or failure of the Equipment, or any component of the Equipment, to meet and perform in accordance with the specifications contained in Exhibit II.

With respect to any such defects or failures, Vendor shall proceed immediately to rectify same.  As soon as all defects or failures relating to Cutover are rectified and made acceptable to Owner, Owner or it’s designated representative(s) shall notify Vendor of Equipment Acceptance in writing and issue Certificate of Systems Acceptance.

Provided, however, that the failure of the Owner to notify Vendor, in writing, of its Acceptance within the times set forth above after Cutover, (or within fifteen (15) working days after formal notification from Vendor that remedial work has been completed), shall be deemed to constitute Acceptance of the Equipment by default.  Nothing in this paragraph shall limit Vendor's warranties, representations, and other agreements with respect to defects, faulty workmanship, and satisfactory operation of Equipment as hereinafter set forth. Provided, further, however, that any consent required of Owner hereunder shall not be unreasonably withheld.

10.	Title to the Equipment herein described shall not pass until the Acceptance by Owner as acknowledged by the issuance of an executed Certificate of Systems Acceptance, notwithstanding any agreement to the contrary, (including but not by the way of limitation, any agreement to pay freight, express or other transportation or insurance charges). Nothing therein contained, however, shall be construed as depriving Owner of its interest, or limiting such interest in the Equipment herein described prior to such actual Acceptance.

11.	Vendor represents to Owner that it is, or shall become familiar with all of the applicable building, zoning, electrical, and other codes, regulations, ordinances, statutes and/or laws applicable to its installation of the Equipment, and any additions thereto, or any service and/or replacement thereof, and shall fully comply with the same, including, but not limited to, the obtaining and paying for all usual and ordinary Vendor-required permits, licenses or other governmental authorizations to perform its installation work, and that it shall, jointly and severally, indemnify and save the Owner harmless from its failure to comply with the same.

Vendor at its expenses shall, upon demand of any governmental authority having jurisdiction over the Equipment, make any repairs, replacement and/or modifications required by such governmental authority to comply with any such applicable governing codes, regulations, and/or laws that Vendor failed to comply with at time of original installation, addition, move or modification.  The indemnity contained in this paragraph shall be in effect for the entire term of this Agreement.

12.	Delivery of all Equipment as part of this agreement shall be made to the Owner's designated receiving area or designated installation site, not to individuals, departments, or other locations not identified by the Owner. Vendor acknowledges that it will obtain approval of such designation from Owner prior to delivery of any such equipment.

13.	Time is of the essence in this Agreement.  All Equipment must be cutover by Vendor no later than 30 calendar days after the date of formal notice to proceed.

The Vendor and Owner agree and acknowledge that in the event that all equipment has not been cutover within the time period provided in this paragraph, Owner shall suffer substantial damages the amount of which is not readily ascertainable or capable of estimation.

Vendor and Owner therefore agree that $500.00 shall be deducted by Owner from the total contract price set forth in Exhibit III for each day or fraction thereof that cutover of all Equipment is delayed beyond the date required for such cutover as set forth in this paragraph. The cutover date set forth in this paragraph shall be extended if said cutover date is made impossible by virtue of any of the matters set forth in paragraph 21 of the agreement hereof.

14.	Owner reserves its right to reject any Equipment and to cancel all or any part of this Agreement prior to completion of installation of all Equipment and Acceptance if one or all of the following events of default shall occur hereunder whether voluntary or involuntary, by operation of law or pursuant to any order of any court or governmental agency:

a.	Vendor shall fail to deliver all or any component of the Equipment or Services set forth in Exhibit IIII, in accordance with the terms, conditions and specifications contained herein as Exhibits I and II, unless changes to the specifications are requested, in writing, by Owner in accordance with paragraph 5 hereof.

or

b.	Vendor shall fail to perform under the terms of this agreement, fail to observe any other condition or provision as required under this Agreement or falls into financial default and such failure shall continue for a period of ten (10) calendar days after written notice of such failure thereof from Owner. Such notice shall be sent by Owner to Vendor, via Certified Mail, return receipt requested.

The Vendor's failure to perform under both sub-paragraphs (a) and (b) immediately above is subject to the matters set forth in paragraph 21 hereof.

In the event Owner elects to terminate all or part of this Agreement in accordance with the terms and conditions set forth in this paragraph, it may do so without liability, except for Equipment set forth in Exhibit IV for which there has been prior Acceptance issued for such said Equipment in accordance with this agreement.

15.	The Owner's or Vendor's failure to enforce any provisions of this Agreement shall not in any way affect, limit, or waive Owner's or Vendor's right thereafter to enforce and compel strict compliance with every provision.

16.	Vendor makes the following warranties to Owner for the Equipment:

a.	Vendor shall, at the date of delivery, have good title to any and all Equipment supplied hereunder, and the Equipment shall be free and clear of any and all liens and encumbrances.

b.	Any and all Equipment supplied hereunder shall be new and in fully operative condition at the time of Cutover of the Equipment as listed in Exhibit IV.

c.	Any and all Equipment supplied hereunder shall be fit for the particular use intended, shall be free from defects, whether patent or latent, in material or workmanship, and shall be in full conformity with the specifications contained herein as Exhibit II as specifically described in the RFP and Vendor’s Response to such RFP.

Furthermore, Vendor agrees that the foregoing warranties shall be in addition to any warranties of additional scope given to Owner by Vendor in this Agreement.  The warranties contained in (a), (b), (c) above shall be effective for a period of twelve (12) calendar months from the date of Acceptance of the Equipment for all hardware purchased under this agreement.

Vendor's entire obligation and liability pursuant to the warranties contained in sub-paragraphs (b) and (c) above shall be exclusively limited to repair, replacement or substitution of defective work or Equipment components at its own cost and expense.  Vendor shall have the option of repairing the Equipment in place, or returning the Equipment to other premises for repair.  In the latter case, Vendor shall replace the Equipment being repaired with like equipment at no further detriment in service to Owner.

Said warranties do not cover the repair, replacement or substitution of defective work or components which are found to be:

1. Lost or stolen; or

2. Damaged by Owner's negligence, misuse or abuse; or

3. Damaged directly or indirectly by causes other than ordinary use including, but not limited to fire, steam, vandalism, storm, water, power failures, or heating or cooling failures provided such failures are not a result of any failure of the Equipment to meet Equipment Specifications;

or

4. Altered or repaired by Owner or its agents without Vendor's consent (except repair and/or replacement made by others resulting from the failure of Vendor to respond, timely, as set forth in the Maintenance Agreement attached as Exhibit X of the Contract).

17.     	The Vendor will indemnify and hold Owner harmless from and against any and all claims, damages, liabilities, losses, judgments, costs and expenses (including without limitation reasonable attorneys’ fees) occasioned by or arising out of any claim by any third party that the configuration of the Equipment as infringes or violates any patent or copyright of such third party.  In order to receive indemnification, Owner must promptly notify Vendor in writing of any notice of a claim and cooperate with Vendor in all reasonable respects in connection with the investigation and defense of the claim.  In addition, Vendor will have sole control of the defense of the claim and all negotiations for its settlement or compromise.  If the configuration of the Products as installed by the Vendor becomes, or in the Vendor’s sole opinion is likely to become, the subject of a claim of patent or copyright infringement, Owner will permit the Vendor, at the Vendor’s option and expense, to either procure for Owner the right to continue using the Products as configured or reconfigure the Products so that the configuration becomes non-infringing.

18.	Vendor represents and agrees that all goods herein described shall not be manufactured, sold, priced, transported, or installed in violation of any Federal, State or Local law or any lawful order, rule or regulation issued thereunder.

19.	Vendor agrees that during the first month preceding, and for twelve (12) months after, cutover of the Equipment it shall provide the system administrator, operator and station user training to Owner employees.  These training programs shall be conducted at such times as may be reasonably requested by Owner, and at no additional charge to Owner.

20.	Vendor acknowledges that the Equipment is a "stored program control" system, and from time-to-time new software releases shall be necessary and/or beneficial to the efficient and proper function of said Equipment, therefore the Vendor agrees as follows:

a.	any such "program update" which is required and/or necessary to correct any deficiency in the initial installation shall be provided at no cost to Owner;

b.	any "program update" which is required to cause the initial system to perform in accordance with the specifications shall be provided at no cost to Owner; and

c.	any such "program update" developed by Manufacturer which shall add features and/or functions to the original system, not called for in the original specifications, shall be brought to the attention of the Owner by the Vendor as soon as practical, and Owner shall have the option to acquire the same, at the lowest price at which the same is being offered by Vendor to other similarly situated Owners in the Williamson County/Austin, Texas area.  This provision shall apply only to newly developed features and/or functions not inclusive of the original specification, and the notice by Vendor to Owner shall fully describe the features and/or functions so developed, and the installed price for the "program update".

21.	Either party's performance under this Agreement is subject to acts of God, fires, floods, storms, water, power failures, riots, insurrection, civil commotion, war, directives of civil or military authorities, strikes or picketing, acts or failure to act on the part of the public utility furnishing telephone network services to Owner, or any other cause beyond either party's reasonable control.

22.	All written notices required or permitted to be given under this Agreement to any party shall be given at the address shown in the preamble to this Agreement, or to such other address as may be communicated to the other parties in writing, and in the case of notice to the Owner, shall be sent to the attention of the primary project contact.  All written notices pertaining to the performance of either party under this agreement shall be sent by certified mail, return receipt.

23.	This Agreement may be terminated by Vendor at its option at any time if any or all of the following events of default shall occur hereunder, whether voluntary or involuntary, by operation of law or pursuant to any order of any court or governmental agency:

a.	Owner shall fail to make any un-disputed payment hereunder when the same shall become due, and such failure shall continue for a period of twenty-one (21) days after written notice which notice shall make specific reference to this paragraph and the rights arising hereunder;

or

b.	Owner shall fail to perform or observe any other covenant, condition or agreement as required under this Agreement, and such failure shall continue for a period of thirty (30) days after written notice thereof from Vendor to Owner.

The performance by Owner under sub-paragraph (b) immediately above is subject to the matters set forth in paragraph 21 hereof.

- Vendor shall have the right to subcontract, in whole or in part, the installation services to be provided under this Agreement, but shall not be relieved of its liability hereunder thereby; provided, however, that the Owner shall have the right to approve or reject any such subcontractor.

- This agreement may be terminated by the Owner upon at least seven (7) working days written notice to the Vendor in the event the project is to be temporarily or permanently abandoned. No termination expenses are authorized. If the Owner terminates the agreement, not the fault of the Vendor, it shall owe amounts unpaid and owning to the Vendor prior to the date of termination less the value of any loss or damage or expense recognized by law the was caused by Vendors breach of term or condition of this agreement. If such loss or damage or expense shall exceed that amount owing and unpaid Vendor, Owner shall be reimbursed by that amount.

- Except as agreed to herein, neither Vendor or Owner shall not be liable under any circumstances for incidental, consequential, or indirect damages caused by its failure or delay in its performance hereunder.

26.	After the aforementioned installation of the Equipment is completed, Vendor shall deliver to Owner, at no cost to Owner, a completed top-quality set of so-called "as installed" drawings, showing the location of all equipment (plan and elevation), cross-connect cables, terminal strips, and any cable terminations, all labeled.

27.	Within seven days of the execution of this Agreement, in the event the total contract price exceeds $25,000, the Vendor shall provide a payment and performance bond in a form substantially the same as set forth in Exhibit I hereto, which bond shall be in the amount of 100 percent of the contract price set forth in Exhibit III hereto, shall be written by a surety company licensed to transact business in the State of Texas and shall be maintained in full force by the Vendor throughout the term of this Agreement.

28.	This Agreement shall bind the parties hereto, and their respective successors and assigns, provided, however, Vendor shall have no right to assign this contract without the written consent of Owner, except in the case where Vendor ceases to be the authorized representative for Manufacturer and Owner requires Vendor to assign this Agreement, no such assignment shall relieve Vendor from any responsibility, obligation and/or liability herein contained, and all claims, causes of action, rights and remedies of Owner hereunder shall survive that assignment, and both Vendor and its assignee shall be liable to Owner therefore, without respect to when the event giving rise thereto occurred.

29.	The Owner shall pay the Vendor for Equipment in accordance with the schedule of values presented by the Vendor, less 5% of retained project funds. The Owner will hold the retained funds as security until all work associated with the contract has been performed by the Vendor and accepted by the Owner.

30.	This is the entire Agreement between Vendor and Owner, and there are no other agreements, verbal or written, undertakings, warranties expressed or implied, modifications or changes deviating from the terms hereof, (except as may be provided by law) and, to the extent any such understandings, agreements, or undertakings do, in fact, exist, the same are hereby canceled and merged into this Agreement, and this Agreement may only be modified by a document, in writing, subscribed by both parties subsequent to the date hereof.

- Owner will receive the right to use software provided under this Agreement only as specified in the Software License(s) included as part of the project and inclusive of pricing in Exhibit III.

33.	The Parties agree that this Agreement shall be construed in accordance with the laws of the State of Texas. Should litigation arise between the Owner and the Vendor regarding this Agreement, venue shall lie in the courts of Hays County, Texas.

EXECUTIONS

IN WITNESS WHEREOF, the parties hereto have caused this Agreement to be executed by their duly authorized representative.

________________________________

(Vendor)

BY:______________________________

TITLE: _____________________________

DATE: _____________________________

Dripping Springs ISD

(Owner)

BY:______________________________

TITLE:______________________________

DATE: _____________________________

WITNESS:______________________________

DATE: _____________________________